# QUALITY COUNCIL OF INDIA

# ICMED 9000 and ICMED 13485 CROSS REFERENCE MATRIX-cum- DOCUMENTATION REVIEW REPORT

Note: - This CRM document has 2 tables - Table 1 – Requirement for CBs - Table 2 – Certification Process for ICMED 9000 and ICMED 13485. - Requirments of ISO 17065-2012 where ever referred in this document is not applicable. - Some of the requirements may be repeated/ more detailed in other table, CBs need to address all requirements in all tables, CB to fill up items 1,2,3 ,4 & 5 below and Col 3 of the checklist.

| 1. | Name and address of the CB: |  |
| --- | --- | --- |
| 2. | Scheme Approval applied for: |  |
| 3. | Application reference: |  |
| 4. | CB’s Documentation (CB to list) |  |
| 5. | Brief information about the CB (CB to provide): |  |
| 6. | Summary of observations: (To be filled by QCI AT): |  |
| 7. | Recommendations: (To be filled by QCI AT): |  |

| Names |  | Date –initial completion | Date first response | Date – Second response |
| --- | --- | --- | --- | --- |
| CB Representative |  |  |  |  |
| QCI assessors 1 |  |  |  |  |
| QCI assessors 2 |  |  |  |  |

| (1) | (2) | (3) | (4) | (5) |
| --- | --- | --- | --- | --- |
| Cl. No. | ICMED 9000 and ICMED 13485 Scheme Requirements for Provisional Approval | QM/Procedure No. /Document no. /Format no. with Clause no., where a particular requirement is addressed (CB to provide details) | Compliance Yes (Y) / No (N) | QCI AT Review comments after assessment |
| Table – 1 |  |  |  |  |
| Requirement for Certification Bodies – ICMED 9000 and ICMED 13485 |  |  |  |  |
| 3.0 | General Requirements |  |  |  |
| 3.1 | Legal and Contractual Matters |  |  |  |
| 3.1.1 | In addition to the requirements as specified in the respective accreditation standards (clauses 4.1 of ISO17065:2012 and clauses 5.1 of ISO 17021-1:2015) following requirements shall apply |  |  |  |
| 3.1.2 | Certification agreement |  |  |  |
| 3.1.2.1 | The certification body shall ensure that its certification agreement requires that the client comply with the following requirements in addition to those specified in the respective standards as above: - Always fulfill the certification requirements including product requirements as specified in the ICMED 9000, ICMED 13485 and ICMED 13485 Plus criteria documents, the certification processes described in the documents “Indian Certification for Medical Device Scheme Certification Process for Systems Certification” and “Indian Certification for Medical Device Scheme Certification Process for Product Certification”, the requirements specified in this document, as applicable, and the changes in them as communicated by the certification body from time to time. - The certified manufacturing facility and its processes always fulfils the certification requirements. - The liability on account of non-conforming processes/ products shall rest with the certified manufacturing facility. - The client makes all necessary arrangements for the conduct of the initial and recertification onsite audit/evaluation, surveillance onsite audits/evaluations (announced and unannounced), onsite special/short notice audits/evaluations for the purpose of complaints investigation, etc. It shall also include provision for examining documentation and records, and access to the relevant equipment and facilities, products, location(s), area(s), personnel, and client's subcontractors, as needed. - The client shall make claims regarding certification only in respect of the location and the scope for which certification has been granted. - The client shall endeavor to ensure that no certificate or report or any part thereof is used in a misleading manner. - Client of the CB shall maintain a documented procedure for the complaint management for the medical devices under certification, for compliance to national requirements. Keeps a record of all complaints made known to the client relating to the compliance with certification requirement and to make these records available to the certification body for its verification. The client shall also agree to take appropriate action with respect to such complaints and any deficiencies found in products/process in accordance with the requirements of the Scheme. |  |  |  |
| 3.1.2.2 | Salient features to be part of the documented process to include: - Post Market surveillance and vigilance (timely reporting to regulatory authorities) process. - Serious event investigation and corrective action process. - Control of non-conforming products on the market (Refer ISO 13485:2016, Section 8.3), investigation process leading to advisory notice or product removal (field safety corrective action). - The client shall inform the certification body, without delay, of matters that may affect its ability to conform to the certification requirements. These shall include changes in the: |  |  |  |
| 3.1.2.3 | Legal, commercial, organizational status or ownership, including any changes in its licensing status for medical device manufacturing and the Memorandum of Association/Charter having any bearing on medical device manufacturing. |  |  |  |
| 3.1.2.4 | Organization and management (e. g. key managerial, decision-making or technical staff). - Contact address and production sites/premises. - Modifications in processes or the production methods, changes in manufacturing/testing equipment and in the internal control measures which are significant in nature. - Any other information indicating that the manufacturing facility may no longer comply with the requirements of the certification criteria and the certification scheme. |  |  |  |
| 3.1.2.5 | Records kept by the client in respect of the complaints received and their resolution shall be verified by the certification body during the surveillance visits to the client’s premises. |  |  |  |
| 3.1.2.6 | The client shall agree for re-audit/evaluation by the certification body as per the requirement of the certification scheme, in the event of changes significantly affecting its capability to comply with the requirements of the certification scheme. |  |  |  |
| 3.1.2.7 | The client shall also agree for re-evaluation by the certification body, in the event of changes in the standards to which compliance of the manufacturing facility is certified. |  |  |  |
| 3.1.2.8 | In addition to the requirements as specified above, the requirements specified vide clauses 3.5 (confidentiality) shall also be part of the agreement with the client. |  |  |  |
| 3.1.3 | Use of license, certificate, and marks of conformity - In addition to the requirements as specified in the respective accreditation standards (clause 4.1.3 of ISO17065:2012 and clause 8.3 of ISO 17021-1:2015) following requirements shall apply: |  |  |  |
| 3.1.3.1 | The certification body shall document clear instructions to clients regarding appropriate use of certification mark(s)/certificate(s) and for providing information about their certification status. It shall also identify the aspects that would be considered as misleading and unauthorized as relevant to the relevant certification scheme. The certification agreement shall make appropriate cross references to the above document, so as to make it legally binding. |  |  |  |
| 3.1.3.2 | In case the certification body operates more than one product/process certification schemes, then it may document a procedure specifying generic requirements common to all schemes and in line with the requirements of ISO 17021-1:2015 and ISO 17065:2012 and additional section with specific requirements as specified for the ICMED scheme. |  |  |  |
| 3.1.3.3 | The certification body shall ensure that the certificate is used only with reference to specific manufacturing facility. Accordingly, the Certification Mark shall be put on the product (also refer Labeling guidelines) carrying reference to the supplies made by the certified manufacturing facility and shall carry the following information as minimum: - Certification Mark (Under certification mark, CB’s identification by way of its accreditation no. as given by NABCB, and certificate no. will be marked) - CB Logo (Optional) |  |  |  |
| 3.1.3.4 | Certification mark shall be put only on the products included in the scope of certification as mentioned on the certificate issued by certification body. |  |  |  |
| 3.1.3.5 | The certification body shall have documented procedures for the measures to be adopted in case of non-compliances to specified requirements with respect to use of certification mark, misuse, including false claims as to certification and false use of certification body logo and these shall be part of its agreement with the certified manufacturing facility. The procedure shall include the process steps and the actions (including penal actions as relevant), the certification body intends to take in the event of observing misuse/misleading use of “ICMED certification” certificates and certification marks. |  |  |  |
| 3.1.3.6 | The certification body shall ensure that the applicants are not misusing the certification mark. |  |  |  |
| 3.2 | Impartiality related requirements – In addition to the requirements as specified in clauses 4.2 ISO17065:2012 and clauses 5.2 of ISO 17021-1:2015, following requirements shall apply. |  |  |  |
| 3.2.1 | The top management’s commitment to impartiality shall be demonstrated through: |  |  |  |
| 3.2.1.1 | Documenting the certification body’s policy on safeguarding impartiality and ensuring that it is understood at all levels of the organization. Implementing good practices like establishing “Code of Conduct” and requiring internal and external personnel to abide by it. |  |  |  |
| 3.2.1.2 | Having a defined institutional structure and impartiality policy and procedures, appropriate implementation of these policy and procedures and operation and conduct of its activities and personnel. |  |  |  |
| 3.2.1.3 | Having a system that ensures appropriate management of conflict of interest for ensuring objectivity of its certification functions. |  |  |  |
| 3.2.1.4 | Taking action to respond to any threats to its impartiality arising from the actions of other parts of the organization, persons outside of the organization, subcontractors, related bodies or other bodies or organizations. |  |  |  |
| 3.2.1.5 | Maintaining a professional environment and culture in the organization that supports a behavior of all personnel that is consistent with impartiality. |  |  |  |
| 3.2.1.6 | Making available to public through its website, its policy on impartiality. |  |  |  |
| 3.2.2 | The certification body shall not have any relationship with the client except third party conformity assessment. There shall be a minimum separation of 2 years before application can be entertained, in case the certification body has had a relationship with the client which is generic in nature, for example, internal audit, in house training, etc. In cases where the relationship pertained to medical devices specific (design/ processes/product/packaging & labeling/ marketing related) activities, then the certification body shall carry out impartiality risk analysis before entertaining the application. The purpose of the risk analysis shall be to ascertain if longer separation than two years is required from the last date of end of relationship as stated above or that the risk is of such unacceptable level, so as to prohibit certification by the certification body. Based on the risk analysis, appropriate decision shall be taken and the justification for the same shall be recorded. |  |  |  |
| 3.2.3 | Although, testing is considered as a conformity assessment activity, in case the certification body (the legal entity) also has a laboratory and if the manufacturing facility it has certified/intends to certify, has a contract/arrangement for getting its raw material and products samples, as per the frequency described in the relevant standards/ customer requirements, tested in its lab, then this is considered as an unacceptable threat to impartiality. In such cases, the certification body shall not certify such manufacturing facility. This provision shall also be applicable if the laboratory is a separate business unit within same legal entity as the certification body as well as if the lab belongs to a related body (a separate legal entity). Definition of Related Body – A relationship that threatens the impartiality of the certification body can be based on ownership, governance, management, personnel, shared resources, finances, contracts, marketing and payment of a sales commission or other inducement for the referral of new clients, etc. |  |  |  |
| 3.2.4 | The requirement in 3.2.3 above is not applicable in case the manufacturing facility uses a number of laboratories by rotation or otherwise. If the certification body and its client are both part of government, then the two bodies shall not directly report to a person or group having operational responsibility for both. The certification body shall, in view of the impartiality requirement, be able to demonstrate how it deals with a case where both itself and its client are part of government. The certification body shall demonstrate that the applicant receives no advantage, and that impartiality is assured. |  |  |  |
| 3.2.5 | When a relationship poses an unacceptable threat to impartiality then certification shall not be provided. Some of these situations requiring prohibitions as mitigation measures have been described vide clause 5.2 of ISO 17021-1:2015 and clause 4.2.6 of ISO 17065:2012. These shall be implemented together with the additional ones provided in this document. |  |  |  |
| 3.2.5.1 | In case the related body (Definition of related bodies under clause 3.2.3 of this document) is engaged in any of the activities like management system consultancy, internal auditing or training and as specified in clause 4.2.6 of ISO 17065:2012, then certification shall not be provided to the relevant client to whom these services may have been provided by the related body. There shall be a minimum separation of 2 years; in case the related body has had relationship which is generic (not specific) in nature, for example, internal audit, in-house training, etc. In cases where the relationship pertained to any services which were medical device manufacturing specific (design/processes/product/packaging & labeling/marketing related) activities, etc., then the certification body shall carry out impartiality risk analysis before entertaining the application. Purpose of risk analysis shall be to ascertain if, longer separation than two years is required from the last date of end of relationship as stated above or that the risk is of such unacceptable level so as to prohibit certification by the certification body. Based on the risk analysis appropriate decision shall be taken and the justification for the same shall be recorded. |  |  |  |
| 3.2.5.2 | The certification body shall not certify a manufacturing facility which has received consultancy for design/processes/product/packaging & labeling/marketing, internal evaluations/audit or training, where the relationship between the consultancy organization/individual and the certification body poses an unacceptable threat to the impartiality of the certification body. Allowing a minimum period of two years to elapse following the end of the relationship product consultancy is one way of reducing the threat to impartiality to an acceptable level however, it shall be considered based on the nature of services offered. |  |  |  |
| 3.2.5.3 | The certification body shall not outsource/subcontract any part of the certification work, evaluation, marketing, etc., to a legal entity that is engaged in designing, manufacture, installation, distribution or maintenance of the medical devices. It shall also not be outsourced to organizations who are engaged in management system consultancy, internal auditing and training and similar services to manufacturing facilities. |  |  |  |
| 3.2.6 | All certification body personnel, either internal or external, or committees, who could influence the manufacturing facility certification activities, shall act impartially, and shall not allow commercial, financial, or other pressures to compromise impartiality. Certification bodies shall require personnel, internal and external, to reveal any situation known to them that may present them or the certification body with a conflict of interests. These aspects shall be ensured through a signed agreement between the individuals and the certification body. Certification bodies shall use this information as input to identifying threats to impartiality raised by the activities of such personnel or by the organizations that employ them, and shall not use such personnel, internal or external. |  |  |  |
| 3.2.7 | The certification body’s personnel involved in certification activities shall be bound by the certification body’s impartiality policy and act impartially in their work through contractual or employment conditions and assignment conditions for each evaluation/audit activity. The certification body shall also take an undertaking with respect to freedom from conflict of interest for every audit/evaluation assignment allotted to the individuals. |  |  |  |
| 3.2.8 | The certification body’s personnel involved in certification activities shall not provide, while carrying out evaluation/audit, any advice, consultancy or recommendation to the client on how to address any deficiencies that may be identified during the evaluation/audit. |  |  |  |
| 3.2.9 | The certification body shall require its personnel, internal and external, to report any situation of influence or pressure from the client that may threaten their independence in the course of certification activities. Based on such report, the certification body shall take appropriate actions to ensure its independence in its certification work. |  |  |  |
| 3.2.10 | The certification body shall be responsible for ensuring that neither related bodies, nor sub-contractors, nor internal or external assessors/auditors operate in breach of the undertakings that they have given. It shall also be responsible for implementing appropriate corrective action in the event that such a breach is identified. |  |  |  |
| 3.2.11 | The certification body shall ensure that a conflict-of-interest analysis is carried out in accordance with the requirements specified in clauses 4.2.3/4.2.4 of ISO 17065:2012 and clause 5.2.2/ 5.2.3 of ISO 17021-1:2015, at least once annually and whenever a significant change occurs in the CB’s activities, such as changes in the organizational structure and business activities or of the legal status and mergers with, or acquisitions of other organizations. This analysis shall be approved by the impartiality committee (see clause 3.2) of this document) established by the certification body. |  |  |  |
| 3.2.12 | Further, where risks to impartiality have been identified as a result of risk analysis, the certification body shall establish and implement a documented procedure for mitigation of threats against impartiality. These shall be through any of the following mitigation means: |  |  |  |
| 3.2.12.1 | Not provide certification, since the situation poses unacceptable threat to impartiality prohibition. Some of the prohibitions are already stated in the respective standards (ISO17021-1:2015 and ISO 17065:2012) and this document. |  |  |  |
| 3.2.12.2 | Carry out the certification in a restricted manner based on disclosures. |  |  |  |
| 3.2.12.3 | Minimize the risks on the basis of clearly defined control points to ensure mitigation. |  |  |  |
| 3.3 | Liability and financing |  |  |  |
| 3.3.1 | In addition to the requirements as specified in clause 5.3 of ISO 17021-1:2015 and clause 4.3 of ISO17065:2012, following requirements shall apply. The requirements as specified above are applicable to all the schemes as specified in clause 2.2 of this document. |  |  |  |
| 3.3.2 | The certification body shall also be able to demonstrate that it has evaluated the risks arising from its certification activities and that it has adequate arrangements (e. g. insurance or reserves) to cover liabilities arising from its operations in each of its fields of activities and the geographic areas in which it operates. |  |  |  |
| 3.3.3 | The certification body shall be able to demonstrate that it has a reasonable expectation of being able to provide and to continue to provide the service in accordance with its contractual obligations. Certification bodies shall also be able to provide sufficient evidence to demonstrate its viability, e. g. management reports or minutes, annual reports, financial audit reports, financial plans, etc. |  |  |  |
| 3.3.4 | The means by which the certification body obtains financial support shall be such to allow the certification body to retain its impartiality. |  |  |  |
| 3.3.5 | In addition to the above the certification body shall also demonstrate to the Impartiality committee, that initially, and on an ongoing basis, commercial, financial, or other pressures do not compromise its impartiality. |  |  |  |
| 3.4 | Non-discriminatory Conditions |  |  |  |
| 3.4.1 | The certification body shall have means of demonstrating compliance to the requirements of clause 4.4 of ISO 17065:2012, through its policies and procedures as well as actual practice. |  |  |  |
| 3.4.2 | The certification body’s policies and procedures shall ensure that it does not practice any form of hidden discrimination by speeding up or delaying the processing of applications. |  |  |  |
| 3.4.3 | Certification Fees |  |  |  |
| 3.4.3.1 | The requirements as specified in clause of the document “Indian Certification for Medical Devices - Certification Process” shall apply. |  |  |  |
| 3.4.3.2 | The certification body’s fee structure shall be publicly available on its website. The structure shall provide break up of costs. |  |  |  |
| 3.4.3.3 | On request from a specific applicant/client, based on the specific conditions concerning the applicant, the certification body shall inform the applicable fees, which shall essentially be derived from the fee structure made publicly available. It shall not substantially differ from the one available publicly, unless some plausible justifications are recorded. |  |  |  |
| 3.5 | Confidentiality - In addition to the requirements as prescribed in the respective accreditation standards (clause 8.4 of ISO 17021-1:2015 and clause 4.5 of ISO17065:2012) following requirements shall apply: |  |  |  |
| 3.5.1 | Personnel, including any committee members, contractors, personnel of external bodies or individuals acting on the certification body's behalf, shall keep confidential all information obtained or created during the performance of the certification body's activities. There shall be a mechanism such as obtaining signed confidentiality agreements, etc., for ensuring the same. |  |  |  |
| 3.5.2 | The certification body shall have available and use equipment and facilities that ensure the secure handling of confidential information (e. g. documents, records). |  |  |  |
| 3.5.3 | When confidential information is made available to other bodies (e. g. accreditation body, agreement group of a peer assessment scheme), the certification body shall inform its client of this action, in advance, through agreements, etc. |  |  |  |
| 3.5.4 | In case of transfer of certificate or application, when the client decides to move from one certification body to another certification body, the certification body to which the client is now moving may ask the previous certification body for information on the reasons for such movement or the performance of the client with respect to the certification requirements. The previous certification body shall be obliged to share this information within a reasonable time, not exceeding 10 days from the date of receipt of the request. Such information shall not be considered as confidential and the certification body shall inform its client of this requirement, in advance, through agreements, etc. |  |  |  |
| 3.6 | Information Requirements - In addition to the requirements as specified in the respective accreditation standards (clauses 8.1, 8.5 of ISO 17021-1:2015 and clause 4.6 of ISO17065:2012) and the document “Medical devices manufacturer Certification Process”, the following requirements shall apply: |  |  |  |
| 3.6.1 | Publicly available information |  |  |  |
| 3.6.1.1 | Making the information publicly available through the certification body’s website shall be the only means of meeting this requirement. |  |  |  |
| 3.6.1.2 | The following information with respect to Indian Certification for Medical Devices Scheme shall be made publicly available on the certification body’s website. The information provided shall be accurate, non-misleading and where relevant detailed enough for the reader to clearly understand: - Information related to the terms and conditions of certification and the use of certificates/certification mark for ICMED Scheme, as contained in the Certification Agreement (clause 4 of this document). A description of the rights and duties of applicants and clients, including requirements, restrictions or limitations on the use of the certification body's name and certification mark and on the ways of referring to the certification granted. - The CB may also provide any other guidance documents on the certification criteria for the benefit of the applicant, as long as they are not advisory/consultative in nature. - The certification body shall make publicly available on its website the information about applications registered and certifications granted, suspended, or withdrawn. - On request from any party, the certification body shall provide the means to confirm the validity of a given certification and the provision for the same shall be made available on the website. - The certification body shall maintain and make publicly available on its website, a directory of valid certifications under “Indian certification for Medical devices” scheme that as a minimum shall show the name, relevant certification criteria, scope and geographical location (e. g. city and country) and contact details for each applicant and certified client and validity of certification for the certified clients. Please also see additional requirements given in the document “Indian certification for Medical devices” Certification Process, which are required to be placed on the certification bodies website. |  |  |  |
| 3.6.1.3 | The certification body shall also make arrangement for providing and up-dating of information with respect to status of certified clients. The certification body shall have procedure for frequent updating of the information on its website. The responsibilities for ensuring accuracy of the information made available on the website, ensuring frequent updates, etc. shall be documented. |  |  |  |
| 3.6.1.4 | The information on complaints handling process and the certification body’s procedure shall be directly available to the public, without the public having to go through layers of cross linkages. |  |  |  |
| 3.6.2 | Directory of Medical Device manufacturers and Medical Devices certified under this Scheme |  |  |  |
| 3.6.2.1 | The certification body shall maintain and make publicly available on its website, directory of valid certifications that as a minimum shall show the name, relevant certification criteria (normative document), scope of certification, geographical location (e. g. city and country) and validity of certification for each certified Medical Device manufacturer. The information maintained by the Certification Body on its website shall also help the user to get readily the following information about the certified Medical Device: - Identification of the Medical Device. - The standard(s) and other normative document(s) to which conformity has been certified. - Identification of the certified Medical Device manufacturers and other details like - address, etc. |  |  |  |
| 3.6.2.2 | The Certification Body shall also display suitably on its website the names of Medical Device manufacturers under suspension and those whose certificates have been cancelled. |  |  |  |
| 3.6.2.3 | Apart from the information made available on its website the Certification Body shall also have a provision and system for confirming validity of a certificate on request. |  |  |  |
| 3.6.2.4 | The Certification Body shall have a procedure for frequent updating of the information on its website. |  |  |  |
| 3.6.2.5 | Information to be available on certification body’s website and by other modes shall include: - An application form to be used by the manufacturer. - Reference to the Certification Criteria. - Procedure for obtaining certification under the ICMED Scheme, a detailed description of the initial and continuing certification activity, including the application, initial evaluation, periodic/market surveillance, evaluations, and the process for granting, maintaining, reducing, extending, suspending, withdrawing certification and re-certification. - List of documents required to be submitted along with the application. - Information about the fees for application, initial certification and continuing certification and policy for the fee. - Documents describing the rights and duties of applicants/ certified clients, and - Information on procedures for handling complaints, feedbacks and appeals. |  |  |  |
| 3.6.3 | Information Exchange Between a Certification Body and its Clients |  |  |  |
| 3.6.3.1 | Information on the certification activity and requirements- The certification body shall provide and update clients on the following: - a detailed description of the initial and continuing certification activity, including the application, initial audit/evaluation, surveillance audit/evaluation, and the process for granting, maintaining, reducing, extending, suspending, withdrawing certification and recertification. - the certification criteria for ICMED scheme. - information about the fees for application, initial certification and continuing certification. - the certification body's requirements for prospective clients. - documents describing the rights and duties of certified clients as well as obligations on part of the certification body including the changes within certified manufacturing facility that need to be informed to the certification body, information on procedures for handling complaints both by the certification body as well by the certified manufacturing facility, in respect of complaints against certified facilities and appeals. |  |  |  |
| 3.6.2.2 | Based on the changes affecting certification, including those initiated by the client, the certification body shall decide upon the appropriate actions in accordance with its documented procedure, which shall include any of the actions as specified in clause 7.10.3 of ISO 17065: 2012, singly or in accordance with its documented procedure, which shall include any of the actions as specified in clause 7.10.3 of ISO 17065: 2012, singly or in combination. Responsibility for deciding about the course of actions to be taken shall also be documented. |  |  |  |
| 4. | Structural Requirements |  |  |  |
| 4.1 | In addition to the requirements as specified in the respective accreditation standards (clause 6 of ISO 17021-1:2015 and clause 5 of ISO17065:2012) following requirements shall apply: |  |  |  |
| 4.2 | Organizational Structure and Top Management |  |  |  |
| 4.2.1 | The organization structure shall include structure of the parent body (legal entity) if separate from the department/division that offers certification. It shall also include structure of the related departments in relation to the department offering certification services. |  |  |  |
| 4.2.2 | The certification body shall identify and document all related bodies (separate legal entities) as well as other departments of the same legal entity and their activities and functions and their relationships with the certification body when describing its organizational structure. This shall cover all relationships and related bodies, bodies related to the certification body based on ownership; governance; management; management personnel; shared resources, finances, contracts, and marketing. The activities of all related bodies shall also be documented for the purpose of identifying any potential conflict of interest. The certification body shall also have a system for disclosure and documentation of the types of activities carried out by its internal and external personnel and subcontractors in general and in particular regarding the designing of relevant product/process/service, consultation, internal evaluation/ auditing, training, etc. The above information shall also be used for identification of actual/potential risks to impartiality. |  |  |  |
| 4.2.3 | The identification of responsibilities, however done, shall clearly and unambiguously reflect the responsibilities for activities/functions as described vide clause 6.1.3 of ISO 17021-1:2015 and clause 5.1.3 of ISO/IEC 17065:2012. |  |  |  |
| 4.2.4 | The requirement specified vide clause 5.1.4 of ISO/IEC 17065:2012 shall cover the Impartiality committee and any other committees, if established by the certification body for certification scheme development, planning for certification evaluation (sampling and determination), certification review and decision making, appeals process, etc. |  |  |  |
| 4.3 | Mechanism (Impartiality Committee) for Safeguarding Impartiality |  |  |  |
| 4.3.1 | An Impartiality committee with specific responsibility for safeguarding the certification body’s impartiality in its certification functions and for ensuring that the policy on safeguarding impartiality and related procedures and other systems are effectively implemented shall be the only means of fulfilling this requirement. The impartiality committee as specified in notes in clause 5.2.3 of ISO 17021-1:2015 will fulfil the requirement as specified in this document. |  |  |  |
| 4.3.2 | The Impartiality Committee shall: |  |  |  |
| 4.3.2.1 | Assist the certification body in developing the policies relating to impartiality of its certification activities, |  |  |  |
| 4.3.2.2 | Counteract any tendency on the part of a certification body to allow commercial or other considerations to prevent the consistent objective provision of certification activities, |  |  |  |
| 4.3.2.3 | Advise on matters affecting confidence in certification, including openness and public perception, |  |  |  |
| 4.3.2.4 | Conduct a review, at least once annually, of the impartiality of the audit, certification, and decision-making processes of the certification body, and |  |  |  |
| 4.3.2.5 | Approve the conflict-of-interest analysis and the mitigation measures described in clause 3.2 of this document. |  |  |  |
| 4.3.2.6 | Other tasks or duties may be assigned to the committee provided these additional tasks or duties do not compromise its essential role of ensuring impartiality. |  |  |  |
| 4.3.2.7 | The composition, terms of reference, duties, authorities, competence of members and responsibilities of this committee shall be formally documented and authorized by the top management of the certification. |  |  |  |
| 4.3.2.8 | This committee shall meet regularly, at least once a year, and a complete record of the proceedings of this committee shall be maintained. |  |  |  |
| 4.3.3 | The certification body shall ensure that: |  |  |  |
| 4.3.3.1 | The committee for safeguarding impartiality shall be separated from the management of the certification body operations and established at the highest level within the organization, independent of its day-to-day operations. |  |  |  |
| 4.3.3.2 | In the composition of the committee, participation of key interested parties shall be ensured, with a representation of a balance of interests such that no single interest predominates. Internal or external personnel of the certification body are considered to be a single interest and shall not predominate. |  |  |  |
| 4.3.4 | Its chairman shall be a person independent from and external to the certification body. |  |  |  |
| 4.3.5 | Impartiality Committee meetings may be observed by the Accreditation Body’s Assessment Teams as part of the Certification body’s accreditation process. |  |  |  |
| 4.3.6 | Although every interest cannot be represented in the Committee, a certification body shall identify and invite significantly interested parties. Such interests may include, clients of the certification body, customers of organizations whose management systems are certified, representatives of industry trade associations, representatives of governmental regulatory bodies or other governmental services, or representatives of non-governmental organizations, including consumer organizations. The invited representative to impartiality committee shall be some way related to medical devices field. |  |  |  |
| 5. | Resource Requirements and Team Competence Requirements |  |  |  |
| 5.1 | In addition to all generic personnel related requirements as specified in clause 7 of ISO 17021-1:2015 and clause 6 of ISO17065:2012, other requirements are described below. |  |  |  |
| 5.2.1 | The auditors/evaluators of the certification body carrying out the audit/evaluation of the manufacturing facility against the criteria for ICMED 9000 as described shall meet the following requirements: |  |  |  |
| 5.2.1.1 | Qualifications: A graduate in Biotechnology or degree in Electrical Engineering or Electronics Engineering or Chemical Engineering or Biomedical Engineering or Mechanical Engineering from a University recognized by the Central Government for such purposes, followed by 2 years’ experience of manufacturing or research or quality assurance in medical device field. OR a Graduate in Science, from a university recognized by the Central Government for such purposes followed by a minimum of 3 years’ experience in the manufacturing or research or quality assurance in medical device field. OR a Diploma in Engineering or Pharmacy from a Board or Institute recognized by the Central Government or the State Government, as the case may be, for such purposes followed with a minimum of 4 years’ experience in the manufacturing or quality assurance in medical device field. |  |  |  |
| 5.2.1.2 | Auditor experience - For a first authorization, the auditor shall comply with criteria, which shall be demonstrated in audits under guidance and supervision. |  |  |  |
| 5.2.1.3 | The auditor shall have gained experience in the entire process of auditing medical device quality management system, including review of documentation and risk management of medical devices, implementation audit and audit reporting. This experience shall have been gained by participation as a trainee in a minimum of two audits for a total of at least 10 man-days under an accredited QMS programme. |  |  |  |
| 5.2.1.4 | The audit team leaders shall have performed as an audit team leader under the supervision of a qualified team leader in at least three ISO 9001 audits for ICMED 9000. |  |  |  |
| 5.2.1.5 | The knowledge and skills for personnel involved with the ICMED 9000 certification is as defined in Annexure A of ISO 17021-1: 2015 shall be applicable. |  |  |  |
| 5.2.1.6 | The auditor/evaluator involved in offsite documentation review of information received with the application/document review before going for onsite assessment shall have the qualifications as described in clause 5.2.1 of this document. |  |  |  |
| 5.2.1.7 | The certification body may use ISO 9001 auditors who do not have the requisite qualifications as prescribed above provided they are supported by technical experts (TEs) who meet the qualifications. The time spent by the TE on an audit shall be in addition to the audit time as prescribed under the ‘Certification Process’ which the CB is expected to spend. |  |  |  |
| 5.2.1.8 | One of the auditors/evaluators in the team shall be nominated as the team leader (TL). The team leader shall be an ISO 9001 TL Auditor for ICMED 9000, qualified as team leader as per the requirement given in ISO 17021-1:2015 /ISO 17065:2012. |  |  |  |
| 5.2.1.9 | The certification body will have a system for qualifying lead auditor/evaluators for “Indian Certification for Medical devices” scheme, based on experience of having performed. |  |  |  |
| 5.2.1.10 | For ICMED 9000 at least three audits/evaluations under the medical device manufacturer certification ICMED 9000 scheme. For one-time initial qualification, some other evaluation methods such as audit experience as team leader in other similar areas, may be used. |  |  |  |
| 5.2.1.11 | While carrying out audit/evaluation of a manufacturer facility for ICMED criteria requirements as specified, the audit team shall collectively have competence as specified above in clauses 5.2.1 to 5.2.1.10 above. |  |  |  |
| 5.2.2 | The auditors/evaluators of the certification body carrying out the audit/evaluation of the manufacturing facility against the criteria for, ICMED 13485 and ICMED 13485 PLUS as described in clause 2.2 above shall meet the requirements of ISO 17021-1:2015, IAF MD 9:2022 and requirements described in document “ICMED - CBs Auditor Competence Requirements”. |  |  |  |
| 5.3 | Other certification body personnel as relevant to the Indian certification for medical device scheme: Other certification body personnel involved in the scheme certification evaluation activities shall have the competence as stated below: |  |  |  |
| 5.3.1 | Application Review personnel – The functions to be carried out by the personnel involved in review of application review is to confirm the adequacy of the information provided by the applicant and identification of the deficiencies observed. Further in case the application reviewer also needs to carry out man-day estimation and team nomination, the persons involved in application review process, shall have thorough knowledge of “Indian certification for Medical devices scheme” requirements as defined in this document and “certification process” documents, in addition to meeting the requirements specified in the relevant requirements for application review personnel as specified in ISO17021-1:2015/ISO 17065:2012. The application review personnel shall be qualified based on experience of having performed at least three application reviews under the Indian certification for medical device scheme or through any other equivalent route. |  |  |  |
| 5.3.2 | Technical Reviewer – The certification body personnel involved in technical review function shall have the same requirement as that specified in clause 5.2.1 of this document. The technical reviewer shall also meet the qualification criteria as specified in the relevant requirements of ISO17021-1:2015/ISO 17065:2012 and shall preferably be qualified on the basis of demonstrated competence to carry out the review function say based on experience of having performed at least three technical reviews under the “Indian certification for medical device scheme”. The technical reviewer shall be independent from the audit/evaluation team. Only person(s) employed by the certification body or on long term (2 – 3 years) full time contract with the certification body shall be entrusted the responsibility of technical review functions. |  |  |  |
| 5.3.3 | Decision maker - Any authorized person(s) of the certification body, independent of the persons involved in the evaluation function. |  |  |  |
| 5.3.3.1 | The person(s) or committee, who take(s) the decision on granting certification under the ICMED 9000 and ICMED 13485 scheme, shall have a level of knowledge and experience as defined in annexure A of ISO 17021-1:2015 and Annexure B of IAF MD 9-2017 respectively to evaluate the information obtained from the evaluation process and the review. |  |  |  |
| 5.3.3.2 | Certification body shall ensure that personnel (group or individual) making the certification decision fulfil the competence as per 5.3. This does not mean that each individual in the group needs to comply with all requirements, but the group as a whole shall meet all the requirements. When the certification decision is made by an individual, the individual shall meet all the requirements. |  |  |  |
| 5.3.3.3 | The technical review and the decision may be completed concurrently by the same person(s), provided they fulfil the necessary requirements as specified in clause 5.3.2 & 5.3.3 above and has been specifically authorized for decision making functions. |  |  |  |
| 5.3.3.4 | Impartiality and absence of conflict of interest shall be ensured before entrusting the task of certification decision making. |  |  |  |
| 6 | Certification Document |  |  |  |
| 6.1 | The certificate to be issued to certified manufacturing facility for the options as specified in clause 2.2 of this document shall be as per the certification document template as enclosed vide Annex A. However, a certificate shall have at least the following information. - Certificate number - Certification scheme name - Reference to certification criteria - Manufacturer’s name (that of the legal entity) with all locations in the schedule - Certified manufacturing facilities address - Scope of certification - Scheme logo - logo of the CB - Accreditation number with logo - Date of certification - Expiry date - Signature of the CB's authorized representative |  |  |  |
| 6.2 | In case of Multi Site certification, the CB shall annex to the certificate the list of the certified manufacturing facilities. The temporary sites shall not be included. |  |  |  |
| 7. | Complaints and Appeals Handling System |  |  |  |
| 7.1 | All the requirement as specified in clauses 9.7 and 9.8 of ISO 17021-1:2015, clause 7.13 of ISO 17065:2012 and those specified in the document” ICMED - Certification Process” are applicable. In addition, the requirements specified below are also applicable. |  |  |  |
| 7.2 | In case of complaints related to a certified client and the products manufactured by the certified client, the examination and evaluation of the complaints shall take into consideration the effectiveness and implementation of the client’s applicable audit criteria (i.e., certification level for which client is certified). The process of establishing validity of the complaint shall generally involve processes like conduct of additional surveillance activities – visit to certified client’s premises for special evaluation, testing and evaluation of the manufacturing process as per implemented system in the manufacturing facility, if necessary. The decisions on complaint shall then be based on the result of additional surveillance activities. |  |  |  |
| 7.2.1 | The certification body’s complaint handling process shall document the actions to be taken by the certification body as well as the certified client, in case the complaint is established to be valid, and manufacturer’s controls are found to be non-compliant with respect to the specified criteria. Some of these actions/conditions shall also be included in the certification body’s legally enforceable contract with the client. |  |  |  |
| 7.2.2 | In respect of appeals, the certification body shall ensure that the individual(s)/committee entrusted with handling of appeal and its resolution/ decision shall be independent of the persons involved in certification related recommendations and decision and their position in the certification body shall be such that it shall not be possible to influence their decisions with respect to the subject of the appeal. |  |  |  |
| 7.2.2.1 | The procedure shall also have provision for giving a written statement to the appellant, of the appeal findings including the reasons for the decisions reached and also communicating to the appellant about the provision for giving an opportunity to formally present his case. Based on the presentation made, the individual or a committee appointed for hearing the case shall take a final decision on the appeal and a formal notice of the outcome and the end of the appeal process shall be given to the appellant. |  |  |  |
| 8. | Management System Requirements |  |  |  |
| 8.1 | In addition to the requirements as specified in the respective accreditation standards (Clauses 9.9 (records) & 10 of ISO 17021-1:2015 and clauses 7.12 (records) & 8 of ISO 17065:2012) following requirements shall also apply: |  |  |  |
| 8.2 | Documentation requirements: |  |  |  |
|  | The certification body shall document its “Indian Certification for Medical device” scheme specific documentation in accordance with the requirements specified in the document “Indian certification for medical device scheme “Certification Process” and this document, in order to ensure that the certified clients comply with the requirements specified in ICMED 9000, ICMED 13485 and ICMED 13485 Plus, as applicable. |  |  |  |
| 8.2.1 | The certification body shall document its “Indian Certification for Medical device” scheme specific documentation in accordance with the requirements specified in the document “Indian certification for medical device scheme “Certification Process” and this document, in order to ensure that the certified clients comply with the requirements specified in ICMED 9000, ICMED 13485 and ICMED 13485 Plus, as applicable. |  |  |  |
| 8.2.2 | All applicable requirements of the above document shall be addressed either in a manual or in a combination of manual and associated operational procedures. |  |  |  |
| 8.2.3 | Conformity assessment activities ICMED 9000 and 13485: CB and its personnel shall carry out the conformity assessment activities with the highest degree of professional integrity and the requisite technical and scientific competence in the specific fields. |  |  |  |
| 8.2.4 | CB shall have expertise, facilities and documented procedures that are sufficient to effectively conduct the conformity assessment activities for which CB has been accredited taking account of the relevant requirements pertaining to ICMED 9000 and ICMED 13485 certification. |  |  |  |
| 8.2.4.1 | appropriately plan the conduct of each individual project (QMS assessment, Design & Development, Risk Management, Biocompatibility, Preclinical and Clinical reports/data, Post marketing surveillance & Vigilance, and Post marketing clinical follow-up etc.) under ICMED 9000 and ICMED 13485 certification. |  |  |  |
| 8.2.4.2 | specify the rationale for fixing time limits for completion of conformity assessment activities. |  |  |  |
| 8.2.4.3 | assess the manufacturer's technical documentation and the solutions adopted to meet the requirements. |  |  |  |
| 8.2.4.4 | review the manufacturer's procedures and documentation relating to the evaluation of pre-clinical aspects. |  |  |  |
| 8.2.4.5 | review the manufacturer's procedures and documentation relating to clinical evaluation, |  |  |  |
| 8.2.4.6 | address the interface between the manufacturer's risk management process and its appraisal and analysis of the pre-clinical and clinical evaluation and to evaluate their relevance for the demonstration of conformity with the relevant requirements (Essential Principles of Safety & Performance). |  |  |  |
| 8.2.4.7 | in the case of class B or class C devices, assess the technical documentation of devices selected on a representative basis. |  |  |  |
| 8.2.4.8 | verify that the manufactured device is in conformity with the technical documentation, and such requirements shall define the relevant sampling criteria and testing procedure prior to sampling. |  |  |  |
| 8.2.5 | Assessment of the Technical Documentation: For assessment of the technical documentation, CB shall have sufficient expertise, facilities, and documented procedures for: |  |  |  |
| 8.2.5.1 | the allocation of appropriately qualified and authorized personnel for the examination of individual aspects such as use of the device, biocompatibility, clinical evaluation, risk management, and sterilization of devices. |  |  |  |
| 8.2.5.2 | the assessment of conformity of the design with the Requirements |  |  |  |
| 8.2.5.3 | the assessment shall include examination of the implementation by manufacturers of incoming, in-process and final checks and the results thereof. |  |  |  |
| 8.2.5.4 | If further tests or other evidence is required for the assessment of conformity with the requirements CB shall carry out adequate physical or laboratory tests in relation to the device or request the manufacturer to carry out such tests. |  |  |  |
| 8.2.6 | Clinical Evaluation Assessment The CB shall have documented procedures in place relating to the assessment of a manufacturer's procedures and documentation relating to clinical evaluation both for initial conformity assessment and on an ongoing basis and CB shall examine, validate, and verify that manufacturers' procedures and documentation address: |  |  |  |
| 8.2.6.1 | the planning, conduct, assessment, reporting and updating of the clinical evaluation, post-market surveillance and post marketing clinical follow-up (PMCF). |  |  |  |
| 8.2.6.2 | the interface with the risk management process. |  |  |  |
| 8.2.6.3 | the appraisal and analysis of the available data and its relevance with regard to demonstrating conformity with the relevant requirements (Essential principles of safety and performance). |  |  |  |
| 8.2.6.4 | the conclusions drawn with regard to the clinical evidence and drawing up of the clinical evaluation report. |  |  |  |
| 8.2.6.5 | the intended use specified by the manufacturer and claims for the device defined by it. |  |  |  |
| 8.2.6.6 | the planning of the clinical evaluation. |  |  |  |
| 8.2.6.7 | the methodology for the literature search. |  |  |  |
| 8.2.6.8 | relevant documentation from the literature search. |  |  |  |
| 8.2.6.9 | the clinical investigation. |  |  |  |
| 8.2.6.10 | validity of equivalence claimed in relation to other devices, the demonstration of equivalence, the suitability, and conclusions data from equivalent and similar devices. |  |  |  |
| 8.2.6.11 | post-market surveillance and PMCF. |  |  |  |
| 8.2.6.12 | the clinical evaluation report, and, |  |  |  |
| 8.2.6.13 | justifications in relation to non-performance of clinical investigations or PMCF. |  |  |  |
| 8.2.7 | Conclusions of the Assessment, CB shall: |  |  |  |
| 8.2.7.1 | ensure that all steps of the conformity assessment are documented so that the conclusions of the assessment are clear and demonstrate compliance with the requirements, and also to standards applied by the client, and these conclusions can represent objective evidence of such compliance to persons that are not themselves involved in the assessment, for example personnel in accreditation body or regulatory authorities. |  |  |  |
| 8.2.7.2 | clearly document the conclusions of its assessment of clinical evaluation in a clinical evaluation assessment report, and |  |  |  |
| 8.2.7.3 | for each specific project, provide a detailed report which shall be based on a standard format containing a minimum set of elements. |  |  |  |
| 8.2.7.4 | The report of the notified body shall: - clearly document the outcome of its assessment and draw clear conclusions from the verification of the manufacturer's conformity with the requirements. - decide, based on the assessment documentation and additional information available, whether the requirements are fulfilled. - decide, based on the results of its assessment of the clinical evaluation and risk management, whether the post-market surveillance plan, including the PMCF plan, is adequate. - decide, based on the novelty, risk classification, clinical evaluation, and conclusions from the risk analysis of the device, on a period of certification not exceeding five years. - clearly document decision making and approval steps including approval by signature of the members of personnel responsible. |  |  |  |
| 8.3 | Requirements with respect to records |  |  |  |
| 8.3.1 | Records of Applicant and Clients – The certification (applicants and clients) related records shall include records for all organizations, including all organizations that submitted applications, and all organizations evaluated, manufacturing facility certified or with certification suspended or withdrawn/cancelled. Specifically, the records shall include the following: |  |  |  |
| 8.3.1.1 | Application information and results of application review and man days estimation and team competence records. |  |  |  |
| 8.3.1.2 | Audit/Evaluation planning including decision on site visits in case of multisite certification and preparation records, evaluation plans and other related records. |  |  |  |
| 8.3.1.3 | Justification for audit/evaluation time determination/man days estimation. |  |  |  |
| 8.3.1.4 | Records of initial/surveillance and recertification audit/evaluation reports and related records. |  |  |  |
| 8.3.1.5 | Records of verification of correction and corrective actions. |  |  |  |
| 8.3.1.6 | Records of technical review and certification decisions, committee deliberations and decisions, if applicable. |  |  |  |
| 8.3.1.7 | Certification agreement. |  |  |  |
| 8.3.1.8 | Certification Documentation including scope of certification. |  |  |  |
| 8.3.1.9 | Records of complaints and appeals, and any subsequent correction or corrective actions. |  |  |  |
| 8.3.2 | Other Records – The certification body shall also maintain the following records: |  |  |  |
| 8.3.2.1 | Related records necessary to establish the credibility of the certification of ICMED Scheme, such as evidence of the competence of auditors/evaluators, technical experts, technical review personnel and decision makers, etc., as relevant. |  |  |  |
| 8.3.2.2 | Any other records as relevant to the ICMED Scheme “Certification Process”, in order to provide confidence that the scheme requirements were complied with. |  |  |  |
| 8.3.3 | Internal audit – following additional requirements shall be applicable: |  |  |  |
| 8.3.3.1 | The objectives of the internal audit shall also include verification of fulfilment of requirements of the additional ICMED scheme specific requirements as specified in ICMED scheme “Certification Process” and this document. |  |  |  |
| 8.3.3.2 | The audit program shall cover all applicable elements of ISO 17021-1:2015, ISO 17065:2012 and those specified in ICMED scheme “Certification Process” and this document. |  |  |  |
| 8.3.3.3 | The internal audit shall be conducted by personnel knowledgeable in certification, auditing, and the requirements of ISO 17021-1:2015, ISO 17065: 2012 and the scheme specific requirements as specified in “ICMED scheme “Certification Process” and this document. |  |  |  |
| 8.3.3.4 | The internal audit report shall clearly report both the compliance (to the requirements specified vide clause 8.3.3 and the certification body’s own systems) aspects as well as the observed gaps (non-conformities), areas for improvement, along with the objective evidence to support the conclusions drawn. |  |  |  |

| (1) | (2) | (3) | (4) | (5) |
| --- | --- | --- | --- | --- |
| Cl. No. | ICMED 9000 and ICMED 13485 Scheme Requirements for Provisional Approval | QM/Procedure No. /Document no. /Format no. with Clause no., where a particular requirement is addressed (CB to provide details) | Compliance Yes (Y) / No (N) | QCI AT Review comments after assessment |
| Table - 2 |  |  |  |  |
| Certification Process for ICMED 9000 and ICMED 13485 |  |  |  |  |
| 3. | Application for Certification |  |  |  |
| 3.1 | Application Form |  |  |  |
| 3.1.1 | The manufacturer shall apply in the application form prescribed by the Certification Body. |  |  |  |
| 3.1.2 | The applicant shall clearly indicate the type of certification it is applying for. |  |  |  |
| 3.1.3 | The applicant shall provide information about each manufacturing facility to be certified. |  |  |  |
| 3.1.4 | The applicant shall clearly indicate if any of the activities covered under the criteria for certification are being carried out at any premises other than the main premises. This is to plan and facilitate covering the applicable criteria under the same audit. For example, Design or R &D or Testing or any outsourced processes. |  |  |  |
| 3.1.5 | The applicant shall specify/list all the activities to be audited and certified. It shall mention whether all the activities are covered at single or multiple locations/sites. For multiple sites, overlapping activities, if any shall also be mentioned. |  |  |  |
| 3.1.6 | Irrespective of the number of facilities of a manufacturer, to be covered under certification, each and every manufacturing facility shall be audited for compliance to the Criteria as applicable. |  |  |  |
| 3.1.7 | The applicant shall provide the list of medical devices to be covered under the scope of certification. |  |  |  |
| 3.2 | List of Documents |  |  |  |
| 3.2.1 | The applicant shall submit all necessary documents (as per applied criteria) to the Certification Body (CB) for document review. |  |  |  |
| 3.3 | Any information considered essential for determining auditor competence and estimation of auditor man-days. |  |  |  |
| 3.4 | Regulatory body or suspension/cancellation/withdrawal of any relevant approvals/ certifications under any Regulations or otherwise. |  |  |  |
| 3.5 | Information for Applicants |  |  |  |
| 3.5.1 | The information describing certification processes for granting, maintaining, extending, renewing, reducing, suspending or withdrawing certification, and geographical areas in which it operates shall be publicly available on certification body’s website and by other modes. |  |  |  |
| 3.5.2 | The applicant shall submit all necessary documents (as per applied criteria) to the Certification Body (CB) for document review. |  |  |  |
| 3.5.2.1 | An application form; |  |  |  |
| 3.5.2.2 | Reference to the Certification Criteria, |  |  |  |
| 3.5.2.3 | Procedure for obtaining certification under the ICMED Scheme, a detailed description of the initial and continuing certification activity, including the application, initial evaluation, periodic surveillance, evaluations, and the process for granting, maintaining, reducing, extending, suspending, withdrawing certification and re-certification. |  |  |  |
| 3.5.2.4 | List of documents required to be submitted along with the application. |  |  |  |
| 3.5.2.5 | Information about the fees for application, initial certification and continuing certification and policy for the fee |  |  |  |
| 3.5.2.6 | Documents describing the rights and duties of applicants/ certified clients, and |  |  |  |
| 3.5.2.7 | Information on procedures for handling complaints, feedbacks and appeals. |  |  |  |
| 3.6 | Registration of Application |  |  |  |
| 3.6.1 | The CB shall respond to all enquiries received from prospective applicant organizations for certification with complete information for facilitating registration of application, within 7 working days of receipt of the query. |  |  |  |
| 3.6.2 | The applicant for certification shall apply to any of the approved Certification Bodies on the Application format prescribed by the CB, and provide the information as mentioned in previous clauses and any other information the CB may consider relevant to the certification process. |  |  |  |
| 3.6.3 | The applicant shall declare (in the form of an undertaking in application) whether it has been an applicant / certified under this Scheme with or by any other certification body, and if yes then shall provide the previous evaluation reports to the new certification body. The certification body may verify the information provided by contacting the earlier certification body. |  |  |  |
| 3.6.4 | The prospective applicant for medical device manufacturer shall along with the application declare any judicial proceedings relating to its operations, any proceedings by any Regulatory body or suspension / cancellation / withdrawal of any certification / approvals under any Regulations or otherwise. Such declaration shall be a part of the undertaking mentioned in 3.6.3 above. |  |  |  |
| 3.6.5 | Certification is granted only against the current relevant certification criteria. The certification body shall review all applications for the above and ensure the same. |  |  |  |
| 3.6.6 | All applications for certification shall be reviewed by the certification body for adequacy and deficiencies observed, if any, shall be informed to applicant within 7 working days of receipt of application. Review of applications shall be done by a competent person. Records of review shall be maintained. |  |  |  |
| 3.6.7 | Only complete applications supported with all documents sought shall be accepted and registered in order of receipt with a unique identification number, acknowledged and records maintained. Registration shall be done within 7 days of receipt of application or information in response to the deficiencies communicated as per 3.6.6 above. In case the applicant discloses any proceedings, suspensions etc. as per 3.6.8 above, the applicant shall not be entertained for a period of one year from the date of conviction, suspension, withdrawal, deregistration etc. |  |  |  |
| 3.6.8 | If the certification of any level under the Scheme has been suspended / cancelled by any approved CB, the application from such a manufacturer shall not be accepted till suspension is revoked by the concerned CB or for one year from the date cancellation of certification. This will be applicable only for the manufacturing facility whose certification has been suspended/cancelled. However, this will not be applicable to other manufacturing facilities under same legal entity. |  |  |  |
| 3.6.9 | The certifications (ISO 9001 and/ or ISO 13485) by CBs other than IAF MLA signatory accredited CBs shall not be accepted. |  |  |  |
| 3.6.10 | Where manufacturing facility is certified by Certification Bodies accredited by NABCB, audit related to scheme criteria shall be carried out. |  |  |  |
| 3.6.11 | Where the certification (for ISO 9001 and /or ISO 13485) is carried out by IAF MLA signatory accredited CBs other than NABCB, full audit as per scheme criteria requirements shall be carried out. |  |  |  |
| 3.6.12 | If ISO 9001 and/or ISO 13485 certification of the applicant is under suspension, application for certification shall not be entertained till the suspension of ISO 9001 and/or ISO 13485 certification is revoked. In case ISO 9001 and/or ISO 13485 certification of a manufacturing facility is cancelled by any CB, the application certification Under the Scheme may be carried out considering manufacturing facility as new client. |  |  |  |
| 3.6.13 | The antecedents of the applicants shall be checked in relation to the Scheme. Applications from manufacturers who have earlier either misused the Certification, or whose earlier certificate was cancelled because of violation of terms & conditions / misuse of certification or have been implicated / convicted by the court in relation to their manufacturing activities, shall not be entertained for a period of one year of conviction / strictures by the court / cancellation of the certificate by any CB. |  |  |  |
| 3.6.14 | Applications from manufacturer found to be misusing the certification while their application is being processed for grant of certification, shall not be processed any further, and rejected after a due notice of 15 days. Fresh applications from them shall be treated as per clause 3.6.13 given above. |  |  |  |
| 3.6.15 | Requests for grant of certification from previous applicants as per clauses 3.6 / expired certificates shall be processed like fresh applications and the entire procedure for grant of certification shall be adhered to subject to clauses 3.6.8 to 3.6.12 above. |  |  |  |
| 3.6.16 | An application shall be rejected or closed under the following conditions; |  |  |  |
| 3.6.16.1 | if Initial Evaluation is not carried out within 3 months of registration of application |  |  |  |
| 3.6.16.2 | if the entire certification process is not completed within 6 months of registration of application. |  |  |  |
| 3.6.16.3 | If the applicant shows no progress towards completion of corrective actions within 3 months of Initial Evaluation and 6 months of Registration of application. |  |  |  |
| 3.6.16.4 | Misuse of certification under the Scheme |  |  |  |
| 3.6.16.5 | Evidence of any malpractice |  |  |  |
| 3.6.16.6 | Voluntary withdrawal of application. |  |  |  |
| 3.6.16.7 | The application fee, if charged by CB, shall be non-refundable. |  |  |  |
| 4. | Audit Programme |  |  |  |
| 4.1 | Considering the type of the certification sought, the following program shall be followed: Certification activity; ICMD 9000; ICMED 13485; ICMED 13485 PLUS. Certification Audit – Stage 1; √; √; For ICMED PLUS, refer ICMED PLUS Certification Criteria for Product Certification.. Certification Audit – Stage 2; √; √. Surveillance – “Once in a year”, Second surveillance audit shall be a unannounced audit which shall be carried out within period of 9 to 12 months from previous surveillance audit.”; √; √. |  |  |  |
| 4.1.1 | For ICMED 9000 and ICMED 13485 the audit cycle shall include |  |  |  |
| 4.1.1.1 | Initial certification audit in two stages (Stage 1 and Stage 2) as per ISO 17021-1:2015 and |  |  |  |
| 4.1.1.2 | Recertification audits (generally 3 months before the end of 3-year validity) – However Provision given in Clause 9.6.2.2.4 and 9.6.3.2.5 of ISO 17021-1: 2015 shall apply. |  |  |  |
| 4.2 | Sampling of Manufacturing Facility to be Audited. The certification shall be granted for each manufacturing facility/premises after due verification of compliance to the prescribed criteria. If same products are manufactured at different sites, sampling can be considered based on risk assessment. The certification body shall record the justification for sampling the sites for audits (initial, surveillance or recertification) |  |  |  |
| 4.3 | Audit Man days The man days required to conduct an effective audit shall be calculated in accordance with the following Table: Certification Activity; Audit Man-day Bifurcation of Stage – I (20%) and Stage - II (80%). ICMED 9000; ICMED 13485. Certification Audit/ Surveillance/ Recertification; As per IAF MD 5 Plus 1 man day on Site; As per IAF MD 9 Plus 1 man day on Site. |  |  |  |
| 4.3.1 | Time duration shall be calculated for each manufacturing facility and each manufacturing facility shall be individually audited by CBs |  |  |  |
| 4.3.2 | The minimum audit time for each on site audit shall be at least one man-day (8 hrs. per day). |  |  |  |
| 4.3.3 | Document review, audit preparation and report preparation time shall be additional and shall be at least one man-day. |  |  |  |
| 5. | Pre-Audit Requirements |  |  |  |
| 5.1 | Preliminary information to be provided to the CB |  |  |  |
| 5.1.1 | CBs shall inform client regarding documentation to be provided by manufacturing facility for “Document review” in compliance to scheme criteria requirements as applicable. |  |  |  |
| 5.1.2 | Before starting the application review, the applicant shall provide the Certification Body with the documentation in compliance to ICMED 9000 and ICMED 13485 requirements, as applicable. |  |  |  |
| 5.1.3 | Apart from information regarding the equipment and facilities of manufacturing facility particularly sterilization process, the applicant shall provide information regarding the plan and frequency of controls carried out on incoming material, production facilities and testing equipment in order to allow auditors to have a preliminary overview of the manufacturing facility. |  |  |  |
| 5.1.4 | The documentation to be provided shall include the following: |  |  |  |
| 5.1.4.1 | Quality Manual – Addressing all the requirements as per criteria document |  |  |  |
| 5.1.4.2 | Procedures – (Procedures related to process and general area of operation such as purchase, H.R. etc.) |  |  |  |
| 5.1.4.3 | Quality Plan – Addressing controls applied & verification frequency of inspection of Incoming material, Process controls and final Product(s) etc. |  |  |  |
| 5.1.4.4 | Standard operation procedures/ Work instructions |  |  |  |
| 5.1.4.5 | Form and Formats. |  |  |  |
| 5.2 | Audit Team |  |  |  |
| 5.2.1 | The CB shall appoint an Audit Team having the necessary competences required to conduct the audit. Audit Type; Audit Team composition. Certification Audit / Surveillance / Recertification Audit; Team Leader + Auditor (If required) + Technical Expert (if Lead auditor or Auditor is not qualified for medical device sector). |  |  |  |
| 5.3 | Audit Plan |  |  |  |
| 5.3.1 | The CB shall ensure that the Audit is conducted during working days in which all manufacturing and support processes are functional. |  |  |  |
| 5.3.2 | No audit shall be planned in case the manufacturing facility is non-operational |  |  |  |
| 5.3.3 | The Auditors, if more than one, may conduct part of the audit in parallel being focused on specific processes/ areas. |  |  |  |
| 5.3.4 | All the activities as included in the scope of certification of manufacturing facility such as design, manufacture, construction, marketing, installation, servicing or supply of the medical device etc. shall be audited irrespective of location. |  |  |  |
| 5.3.5 | The audit of the controlling/ head office shall be planned in case it is catering to multiple manufacturing facilities to verify all the functions of its activities. |  |  |  |
| 6. | Certification Audit (ICMED 9000 and ICMED 13485) |  |  |  |
| 6.1 | Stage 1 Audit |  |  |  |
| 6.1.1 | The stage 1 audit is performed to: |  |  |  |
| 6.1.1.1 | Audit the client's management system documentation |  |  |  |
| 6.1.1.2 | Evaluate the client's location and specific conditions and to undertake discussions with the client's personnel to determine the preparedness for the stage 2 audit; |  |  |  |
| 6.1.1.3 | Review the client's status and understanding regarding requirements of the standard, in particular with respect to the identification of key performance or significant aspects, processes, objectives and operation of the management system including scheme requirements; |  |  |  |
| 6.1.1.4 | Collect necessary information regarding the scope of the management system, processes and location(s) of the client, and related statutory and regulatory aspects and compliance (e.g. Quality, environmental, legal aspects of the client’s operation, associated risks, etc.); |  |  |  |
| 6.1.1.5 | Review the allocation of resources for stage 2 audit and agree with the client on the details of the stage 2 audit; |  |  |  |
| 6.1.1.6 | Provide a focus for planning the stage 2 audit by gaining a sufficient understanding of the client's management system and site operations in the context of possible significant aspects; |  |  |  |
| 6.1.1.7 | Evaluate if the internal audits and management review are being planned and performed, and that the level of implementation of the management system substantiates that the client is ready for the stage 2 audit. |  |  |  |
| 6.1.1.8 | Auditors shall identify personal protective equipment which may be reasonably required during while auditing processes in stage – 2 audit and report in stage – 1 audit and ensure availability of the required personnel protective equipment during Stage – 2 audit. |  |  |  |
| 6.1.1.9 | If manufacturing facility operating in shifts, Justification to be recorded if shifts are not to be audited. (Refer clause 9.1.3.5 of ISO 17021-1) |  |  |  |
| 6.1.2 | The Stage – I audit shall be carried out by a competent audit team on site to judge the adequacy of the system to meet requirements of applicable ICMED 9000 and ICMED 13485 criteria. It shall result in a formal report |  |  |  |
| 6.1.3 | The stage 1 audit shall be carried out at the client's premises in order to achieve the objectives. The CB shall have a defined guideline for the same. (Also, Ref IAF MD 2). |  |  |  |
| 6.2 | Stage 2 Audit |  |  |  |
| 6.2.1 | The Objectives of stage 2 audit shall be to verify compliance to the applicable certification criteria, regulatory requirements, verification of documents and records, and interviews with the personnel involved in various relevant activities. The stage 2 audit shall be conducted on site. |  |  |  |
| 6.2.2 | Competence of people at manufacturing facility shall be audited to verify the effective knowledge QA/ QC and of internal procedures, applicable standards related to medical device being produced. The competency of the personnel shall be as per applicable regulation. The requirement is as follows. “The manufacture & Quality Assurance will be conducted under the active direction and personal supervision of competent technical staff consisting of at least one person each for manufacturing & Quality Assurance who is a whole-time employee and who is: |  |  |  |
| 6.2.2.1 | a Graduate in Engineering or Pharmacy from a University recognized by the Central Government for such purposes and has had at least eighteen-month practical experience in the manufacturing or Quality Assurance of devices after his graduation; or |  |  |  |
| 6.2.2.2 | a Graduate in Science, from a university recognized by the Central Government for such purposes and has had at least three years practical experience in the manufacturing or Quality Assurance of devices after his graduation; or |  |  |  |
| 6.2.2.3 | a Diploma in Engineering or Pharmacy from a Board or Institute recognized by the Central Government or the State Government, as the case may be, for such purposes and has had at least four years practical experience in the manufacturing or Quality Assurance of devices after his diploma; or |  |  |  |
| 6.2.2.4 | having a foreign qualification, the quality and content of training of which are comparable with those specified in clause 6.2.2.1, 6.2.2.2, 6.2.2.3 above and is permitted to work as competent technical staff |  |  |  |
| 7. | Certification Audit (ICMED 9000 and ICMED 13485) |  |  |  |
| 7.1 | Initial Evaluation |  |  |  |
| 7.1.1 | Initial site evaluation - The site visit shall cover review of records (Stage 1) and onsite testing and laboratory testing (stage 2). If required, witnessing of testing shall be carried out, hence forth shall be called as on-site evaluation. |  |  |  |
| 7.1.1.1 | Initial evaluation shall be carried out by a competent evaluation team in two stages. Both the Stage 1 and Stage 2 evaluation shall be combined evaluation. |  |  |  |
| 7.1.1.2 | The information gathered during stage 1 evaluation shall be used for making adjustment in evaluation time and/or audit team competence for stage 2 evaluation, as necessary. |  |  |  |
| 7.1.1.3 | Timings and date of Initial site evaluation shall be fixed in consultation with the applicant ensuring that all the activities related to the applicable certification criteria are carried out. |  |  |  |
| 7.1.1.4 | The evaluation plan covering the relevant evaluation objectives shall be prepared and communicated to the applicant well in advance. |  |  |  |
|  | Stage 1 Evaluation - The Objectives of stage 1 evaluation shall be: - To review the documents and records submitted by the applicant, for each of the device applied for compliance to the applicable requirements as per ICMED Certification Criteria. |  |  |  |
|  | - To review and revise, if required an evaluation plan for stage 2 evaluation. |  |  |  |
|  | - Deficiencies (non-conformities) observed with respect to the certification criteria during the Stage 1 shall indicate non-compliance with respect to applicable requirements of the ICMED certification criteria. No further categorization of deficiencies/non-conformities is done. |  |  |  |
|  | - In case of any non-compliance with respect to a particular device is observed, the certification body shall require from the applicant to submit a set of documents and records to indicate the compliance as per the applicable clause with fresh sample, as applicable for the relevant device. |  |  |  |
|  | - The evaluation team shall prepare a report highlighting the level of compliance for each of the applicable requirements for every device as per the scope of certification including the deficiencies. As and when the deficiency is observed, a recommendation be made for holding the certification until a reasonable time so that the applicant may submit the compliant records, documents and equipment as may be the case. On completion of the stipulated time, a recommendation be made for the discontinuation of the certification process and closure of the certification. |  |  |  |
| 7.1.1.6 | Stage 2 Evaluation |  |  |  |
|  | - The Stage 2 evaluation by certification body shall take place only when all the applicable requirements of the ICMED 13485 certification criteria have been evaluated in stage 1 and compliance to requirements observed and no deficiencies (non-conformities) have been observed. |  |  |  |
|  | - The objective of the stage 2 evaluation shall be: - The stage 2 evaluation shall cover on-site testing and laboratory testing for each of the medical device(s) applied for in the scope of application. Witnessing of testing shall be carried out as part of the stage 2 evaluation. |  |  |  |
|  | - Deficiencies (non-conformities) observed with respect to the certification criteria during the Stage 2 shall indicate non-compliance with respect to applicable requirements of the ICMED certification criteria. As and when the deficiency is observed, a recommendation be made for holding the certification until a reasonable time so that the applicant may submit the compliant records, documents and equipment as may be the case. On completion of the stipulated time, a recommendation be made for the discontinuation of the certification process and closure of the certification. |  |  |  |
|  | - In case of any non-compliance with respect to a particular device is observed, the certification body, a recommendation be made for holding the certification until a reasonable time so that the applicant may submit the compliant records, documents and equipment as may be the case. On completion of the stipulated time, a recommendation be made for the discontinuation of the certification process and closure of the certification. |  |  |  |
| 7.1.1.7 | The evaluation report – The evaluation reports for stage 1 and stage 2 shall clearly provide evidence and conclusions about the fulfilment of the evaluation objectives as described above and shall contain sufficient detailed information regarding conformity with all the relevant certification requirements, including the Certification Criteria for each device singularly. The Certification Body shall develop appropriate report format(s) and report writing guidance document to ensure that the report provides, adequate and complete details for ensuring appropriate, evaluation, review and decision in respect of grant of certification. |  |  |  |
| 7.2 | Independent testing of samples |  |  |  |
| 7.2.1 | Software and firmware shall be evaluated for safety and security requirements in a Government approved/NABL accredited laboratory for the scope. To enable this, necessary information relating to architecture, design and source code and other information to enable their evaluation shall be collected from the applicant. On the basis of the satisfactory reporting, the evaluation team shall validate the same on-site at the applicant’s site for compliance. |  |  |  |
| 7.2.2 | When the Government. approved lab/NABL labs located at a distant location are difficult to access, the testing being conducted by the applicant onsite shall be witnessed by the CB evaluation team. Please see 7.1.1.6 b (above). |  |  |  |
| 7.2.3 | When the testing being conducted by the applicant onsite is witnessed by the CB evaluation team this would be considered as independent testing. |  |  |  |
| 7.2.4 | All test witnessed conducted by the applicant shall be considered as equivalent to independent testing of medical device. |  |  |  |
| 7.2.5 | The device submitted to lab by the manufacturer may not exceed 3. In case, the CB requires additional devices, the same may be requested with proper justification with adequate advance notice. |  |  |  |
| 7.3 | Final Evaluation |  |  |  |
| 7.3.1 | The purpose of this process step is to conduct an evaluation of all the information gathered through the process steps of Stage 1 and stage 2 evaluation and the results of independent testing: |  |  |  |
| 7.3.1.1 | to ascertain if all the process steps as described in the certification process leading to grant of certificate have been fulfilled, |  |  |  |
| 7.3.1.2 | to confirm that the medical device applied for as per scope of application complies with requirements described in the relevant certification criteria. |  |  |  |
| 7.3.2 | The final evaluation shall ensure compliance to the certification requirement and any other requirements prescribed by the Certification Body, and no non-conformances observed. |  |  |  |
| 7.3.3 | Based on the evaluation as above, recommendations for proceeding to next step (independent review and decision making) shall be made. In case the evaluation indicates that some requirements of the certification criteria or the certification scheme have not been met and then these need to be completed and evaluated before proceeding to the next step. |  |  |  |
| 7.3.4 | The final evaluation shall be carried out by competent personnel, duly authorized for this function. The team leader designated for the conduct of Initial Evaluation may also be authorized for this activity. |  |  |  |
| 7.3.5 | Records of final evaluation along with all supporting documents and reports shall be retained at least for the period of two certification cycles i.e., 6 years or until the device is in service, whichever is later |  |  |  |
| 7.4 | Safety during Audits |  |  |  |
| 7.4.1 | The Audit at medical device manufacturing facility involves risks linked to work environment. The responsibility for risk analysis and the identification of the most suitable means of protection is shall be that of the manufacturer. |  |  |  |
| 7.4.2 | Auditors must have personal protective equipment which may be reasonably required to while auditing different manufacturing processes of manufacturing facility particularly sterilization. |  |  |  |
| 7.5 | Non-Conformities |  |  |  |
| 7.5.1 | Any non-conformities observed during audit, with respect to the certification criteria shall be informed in writing to the applicant for taking necessary action. The non-conformities shall be classified as Major or Minor depending on their severity. |  |  |  |
| 7.5.1.1 | Major Non conformity – A non-conformity that affects the capability of the management system to achieve the intended results. A number of minor NCs on the same aspect shall be clubbed together and raised as single major NC. |  |  |  |
| 7.5.1.2 | Minor Non conformity – All other gaps and non-conformities shall be classified as Minor. These shall generally be related to other implementation issues which do not directly affect the capability of the management system to achieve the intended results. |  |  |  |
| 7.5.2 | In case of major and minor NCs the organization shall carry out root cause analysis and inform the same along with correction and corrective actions, within a period of one month or 3 months respectively. All non-conformities are required to be closed before initial certification and recertification through verification of adequacy of the correction and corrective actions. All Major non-conformities, shall invariably require an onsite follow-up audit. |  |  |  |
| 7.6 | Audit Report |  |  |  |
| 7.6.1 | The Certification Bodies shall send the Audit Report to the client within 7 working days from the date of the completion of the audit. |  |  |  |
| 7.6.2 | The audit reports for stage 1 and stage 2 shall clearly provide evidence and conclusions about the fulfilment of the audit objectives as described above and shall contain sufficient detailed information regarding conformity with all the relevant certification requirements, including the Certification Criteria. The Certification Body shall develop appropriate report format(s) and report writing guidance document to ensure that the report provides, adequate and complete details for ensuring appropriate, evaluation, review and decision in respect of grant of certification. The Audit report shall have the following as minimum: |  |  |  |
| 7.6.2.1 | identification of the certification body; |  |  |  |
| 7.6.2.2 | the name and address of the client and the client’s representative; |  |  |  |
| 7.6.2.3 | the type of audit (e.g., initial, surveillance or recertification audit or special audits); |  |  |  |
| 7.6.2.4 | the audit criteria; |  |  |  |
| 7.6.2.5 | the audit objectives; |  |  |  |
| 7.6.2.6 | the audit scope, particularly identification of the organizational or functional units or processes audited and the time of the audit; |  |  |  |
| 7.6.2.7 | any deviation from the audit plan and their reasons; |  |  |  |
| 7.6.2.8 | any significant issues impacting on the audit programme; |  |  |  |
| 7.6.2.9 | identification of the audit team leader, audit team members and any accompanying persons; |  |  |  |
| 7.6.2.10 | the dates and places where the audit activities (on site or offsite, permanent or temporary sites) were conducted; |  |  |  |
| 7.6.2.11 | audit findings, reference to evidence and conclusions, consistent with the requirements of the type of audit; |  |  |  |
| 7.6.2.12 | significant changes, if any, that affect the management system of the client since the last audit took place; |  |  |  |
| 7.6.2.13 | any unresolved issues, if identified; |  |  |  |
| 7.6.2.14 | where applicable, whether the audit is combined, joint or integrated; |  |  |  |
| 7.6.2.15 | a disclaimer statement indicating that auditing is based on a sampling process of the available information; |  |  |  |
| 7.6.2.16 | recommendation from the audit team |  |  |  |
| 7.6.2.17 | the audited client is effectively controlling the use of the certification documents and marks, if applicable; |  |  |  |
| 7.6.2.18 | verification of effectiveness of taken corrective actions regarding previously identified non-conformities, if applicable. |  |  |  |
| 8. | Certification Decisions |  |  |  |
| 8.1 | Certification decision shall be the sole responsibility of the certification body and the decision shall be taken by its internal person(s) competent for the job provided they have not been involved in the process of audit of the organization. Impartiality and absence of conflict of interest shall be ensured before entrusting the task of certification decision making. Also refer “ICMED - Requirement of CB” document. |  |  |  |
| 8.2 | Conditions for Granting a Certificate: |  |  |  |
| 8.2.1 | The CB shall grant the certification when all the following conditions are met with: |  |  |  |
| 8.2.1.1 | The audit report with suitable recommendation is available |  |  |  |
| 8.2.1.2 | All NCs raised have been closed. |  |  |  |
| 8.2.1.3 | There are no other issues impacting grant of certification |  |  |  |
|  | There shall be no conditional grant of certification. |  |  |  |
| 9. | Certificate |  |  |  |
| 9.1 | The manufacturer may achieve one of the following certificates: Certificate; Object; Extension; Certificate Number. Single Manufacturing facility; All the processes carried out; Single manufacturing facility; One certificate number. Multi-Site; Group of manufacturing facilities sharing common facilities or processes; Group of manufacturing facilities; One number (the certificate shall have an annexure with the list of certified Manufacturing facilities). Company; Entire company; All manufacturing facilities; One number per company (the certificate shall have an annexure with the list of certified manufacturing facilities). |  |  |  |
| 9.2 | Certification Documentation - The certificate shall include the following information: |  |  |  |
| 9.2.1 | the name and geographical location of each certified client (or the geographical location of the headquarters and any sites within the scope of a multi-site certification); |  |  |  |
| 9.2.2 | the effective date of granting, expanding or reducing the scope of certification, or renewing certification which shall not be before the date of the relevant certification decision; |  |  |  |
|  | NOTE: The certification body can keep the original certification date on the certificate when a certificate lapses for a period of time provided that: |  |  |  |
| 9.2.2.1 | the current certification cycle start and expiry date are clearly indicated; |  |  |  |
| 9.2.2.2 | the last certification cycle expiry date be indicated along with the date of recertification audit |  |  |  |
| 9.2.3 | the expiry date or recertification due date consistent with the recertification cycle; |  |  |  |
| 9.2.4 | a unique identification code i.e., Certificate number |  |  |  |
| 9.2.5 | Certification Scheme name/ the management system standard and/or other normative document, including indication of issue status (e.g., revision date or number) used for audit of the certified client; |  |  |  |
| 9.2.6 | the scope of certification with respect to the type of activities, products and services as applicable at each site without being misleading or ambiguous; |  |  |  |
| 9.2.7 | the name, address and certification mark of the certification body; other marks, Scheme logo, Accreditation Logo (applicable only, once accredited) etc. symbol, client’s logo) may be used provided they are not misleading or ambiguous; |  |  |  |
| 9.2.8 | any other information required by the standard and/or other normative document used for certification |  |  |  |
| 9.2.9 | in the event of issuing any revised certification documents, a means to distinguish the revised documents from any prior obsolete documents. |  |  |  |
| 9.2.10 | Signature of the CBs authorized representative |  |  |  |
| 9.2.11 | In case of company certification, the CB shall annex to the certificate the list of the certified manufacturing facilities. |  |  |  |
| 9.3 | Validity |  |  |  |
|  | The certificate shall be valid for 3 years from the date of issue. |  |  |  |
| 10. | Surveillance Audits |  |  |  |
| 10.1 | Surveillance audits, announced and unannounced shall be carried out on site at a frequency mentioned in clause 4.1, by a competent auditor as per clause 5.2 above. The audit man-days for surveillance audits shall be as defined in clause 4.3. |  |  |  |
| 10.2 | Non conformities observed during surveillance audit shall be categorized as major and minor as defined in clause 7.5. |  |  |  |
| 11. | Suspension |  |  |  |
| 11.1 | The certification body shall issue instructions to the certified organization for suspension of certification when |  |  |  |
| 11.1.1 | a critical NC is raised during any surveillance audit and not resolved within 15 days |  |  |  |
| 11.1.2 | the major NCs issued are not closed in timelines prescribed |  |  |  |
| 11.1.3 | repeated major NCs are raised in consecutive surveillance assessments there is failure to organize a surveillance audit within the specified time period |  |  |  |
| 11.1.4 | there is non-payment of outstanding dues |  |  |  |
| 11.1.5 | any major changes have taken place in the legal status, ownership, name etc. without prior information to the CB |  |  |  |
| 11.1.6 | any willful misuse of the logo of the Scheme is detected |  |  |  |
| 11.1.7 | any willful false declaration in the application form or otherwise is detected |  |  |  |
| 11.1.8 | excessive or serious complaints against the certified organization management system are received and are found to be valid |  |  |  |
| 11.1.9 | the certified organization voluntarily requests a suspension. Such request must be submitted in writing to the CB along with the reasons. The CB may decide to accept the request but may not allow the client to revoke suspension on its own. |  |  |  |
| 11.2 | The certification body shall issue due notice of at least one week for suspension of certification to the certified organization. |  |  |  |
| 11.3 | When certification is suspended, the certification body shall require that, during the period of suspension, the certified organization makes no misleading claims. |  |  |  |
| 11.4 | The certification body shall revoke suspension only when Corrective actions have been taken and verified by the certification body. |  |  |  |
| 12. | Renewal of Certification |  |  |  |
| 12.1 | The certification shall be renewed at the expiry of 3 years validity period. However, the renewal process and the renewal of certification decision shall be taken on or before the certificate expiration date. In order to achieve the same, the certification body shall send the Renewal notice to the certified units at least four months prior to expiry of certificate validity period. However, Provision given in Clause 9.6.2.2.4 and 9.6.3.2.5 of ISO 17021-1: 2015 shall apply. |  |  |  |
| 12.2 | The certified organization shall apply for renewal in the prescribed format along with fee, if any prescribed by the CB at least 3 months before expiry of the certification. |  |  |  |
| 12.3 | The onsite surveillance audit conducted towards the end of third year and before the expiration of the certificate shall be considered as the recertification audit (refer clause 12). The objectives of this audit will be a combination of stage 2 and surveillance audits, unless there have been any changes in product and process requirements, which would then also require assessment of the organization’s revised processes, controls and systems. |  |  |  |
| 12.4 | The certification body shall review the performance of the certified unit who has sought renewal of the Certificate, with respect to compliance to certification criteria during the entire certification cycle, prior to a decision on the renewal of the certificate. The review shall essentially be based on the following: |  |  |  |
| 12.4.1 | Surveillance and recertification audit reports for the audits carried out during the certification cycle. The NCs raised and the satisfactory resolution of the issues raised and their effectiveness. |  |  |  |
| 12.4.2 | Any suspension of certificate during the previous validity period; |  |  |  |
| 12.4.3 | corrective actions taken |  |  |  |
| 12.4.4 | complaints if any received, |  |  |  |
| 12.4.5 | Adverse information from stakeholders and regulators, if any. |  |  |  |
| 12.5 | The review shall be conducted by competent person (s) designated for the job. |  |  |  |
| 12.6 | The decision for renewal of certificate shall be taken by the competent personnel authorized for the same, based on the satisfactory performance of the certified organization. |  |  |  |
| 12.7 | The certification body shall not renew certification with conditions for compliance to be verified subsequently. There shall be no conditional renewal of certification. |  |  |  |
| 12.8 | When performance of the certified unit is not satisfactory, the certification body shall withhold the renewal of the certificate clearly stating the reasons and give time for effecting corrective actions. The verification and decision on renewal should be taken within 3 months of the certification expiry date. |  |  |  |
| 12.9 | The corrective actions shall be verified generally on site unless the Certification Body can verify the same off site prior to considering for renewal of certificate. The justification for off-site review shall be recorded. |  |  |  |
| 12.10 | In case the manufacturing unit does not complete satisfactorily actions within three months, the certificate shall stand expired from the date of expiry of previous validity. |  |  |  |
| 12.11 | When a certificate is not renewed, it shall expire at the end of validity period. |  |  |  |
| 13. | Withdrawal |  |  |  |
| 13.1 | Certification body shall withdraw the certificate when |  |  |  |
| 13.1.1 | Certified organization contravenes the terms and conditions of certification and provisions of the ICMED scheme |  |  |  |
| 13.1.2 | The certified organization is not conforming to the requirements of the Certification Criteria and the corrective actions taken are not ensuring compliance, |  |  |  |
| 13.1.3 | the proposed plan for corrective actions will take a considerable time beyond 6 months for implementation; |  |  |  |
| 13.2 | Certification body shall withdraw the certificate at the request of the certified plant, if the operation(s) in the certified organization can no longer be carried due to reasons of natural calamities such as flood, fire, earthquake etc., lock out declared by the management, or closure of business operations etc. |  |  |  |
| 14. | Change of location/Ownership/Name |  |  |  |
| 14.1 | The certified organization shall inform the CB of any change in the location of the manufacturing unit. |  |  |  |
| 14.2 | On receipt of such information, the certification body shall issue instructions to the certified organization for suspension of certification with immediate effect. |  |  |  |
| 14.3 | The manufacturing unit shall be subject to an onsite audit at the new site like an Initial audit of an applicant. |  |  |  |
| 14.4 | If the audit is satisfactory, the Certification Body shall transfer the Certificate to the new location. |  |  |  |
| 14.5 | The CB shall endorse the change of premises on the Certificate. |  |  |  |
| 14.6 | In the event of change of Ownership, the organization shall provide necessary documentary evidence. The new management of the organization shall submit its acceptance to the agreement with the Certification Body, and payment of fees. The same process shall be followed as and when an existing applicant undergoes a change in management. Such changes shall not call for a visit to the production site. |  |  |  |
| 14.7 | In case of change of Name, the manufacturer shall inform the change in the name to the CB supported with documentary evidence, and if satisfied the CB shall endorse the Certificate in the new name. |  |  |  |
| 15. | Complaints and appeals |  |  |  |
| 15.1 | The certification body shall have a documented procedure for handling of complaints and appeals. |  |  |  |
| 15.2 | The procedure for complaint handling shall include complaints from all stake holders, especially its certified organization as well as customers of its certified organizations. |  |  |  |
| 15.3 | The procedure for receipt and handling of complaints shall be made available to public on the CB’s website and shall also be easily accessible on the website. |  |  |  |
| 15.4 | Upon receipt of a complaint or appeal, the certification body shall confirm whether the complaint or appeal relates to certification activities for which it is responsible and, if so, shall address it. The certification body shall acknowledge receipt of a formal complaint or appeal. |  |  |  |
| 15.5 | The certification body shall be responsible for gathering and verifying all necessary information (as far as possible) to progress the complaint or appeal to a decision. |  |  |  |
| 15.6 | The procedure shall include the process steps for receiving and recording, evaluating and establishing validity of the same, investigating and make decisions on complaints and appeals. The process step shall also include the activities of root cause analysis, correction and corrective actions. |  |  |  |
| 15.7 | If the complaint relates to a certified organization, then the examination and evaluation of the complaints shall take in to consideration the effectiveness and implementation of the certified organizations system. |  |  |  |
| 15.8 | The CB’s complaint handling process shall document the actions to be taken by the CB as well as the certified organization, some of these actions/conditions shall also be included in the CB’s legally enforceable contract with the certified organization. |  |  |  |
| 15.9 | The certification body shall record and track complaints and appeals, as well as actions undertaken to resolve them. |  |  |  |
| 15.10 | The decision resolving the complaint or appeal shall be made by, or reviewed and approved by, person(s) not involved in the certification activities related to the complaint or appeal. To ensure that there is no conflict of interest, personnel (including those acting in a managerial capacity) who have provided consultancy for a certified organization, or been employed by the certified organization, shall not be used by the certification body to review or approve the resolution of a complaint or appeal for that certified organization within two years following the end of the consultancy or employment. |  |  |  |
| 15.11 | Whenever possible, the certification body shall give formal notice of the outcome and the end of the complaint process to the complainant. |  |  |  |
| 15.12 | In respect of appeals the CB shall ensure that the individual(s)/committee entrusted with handling of appeal and its resolution decision shall be independent of the persons involved in certification related recommendations and decision and their position in the CB shall be such that it shall not be possible to influence their decisions with respect to the subject of the appeal. |  |  |  |
| 15.13 | The procedure shall also have provision for giving a written statement to the appellant, of the appeal findings including the reasons for the decisions reached and also communicating to the appellant about the provision for giving an opportunity to formally present his case. |  |  |  |
| 15.14 | Based on the presentation made, the individual or a committee appointed for hearing the case shall take a final decision on the appeal and a formal notice of the outcome and the end of the appeal process shall be given to the appellant. |  |  |  |
| 15.15 | The certification body shall give formal notice of the outcome and the end of the appeal process to the appellant. |  |  |  |
| 15.16 | The certification body shall take any subsequent action needed to resolve the complaint or appeal. |  |  |  |
| 16. | Fee |  |  |  |
| 16.1 | A fee to be charged to the organization for various activities of the certification scheme, without any discrimination between manufacturing facilities, geographical location, size of the manufacturing facility. |  |  |  |
| 16.2 | The CBs fee structure shall be publicly accessible and also be provided on request. The fee structure shall provide break up of costs. |  |  |  |
| 16.3 | CB shall notify and obtain consent to its fee structure from the organizations prior to grant of certification. As and when the fee undergoes a change, the same shall be communicated to all including applicants and the manufacturing facility certified under this scheme of certification for their acceptance. |  |  |  |