Note: This CRM document has 2 tables: Table 1 – Requirement for CBs Table 2 – Certification Process for ICMED 13485 Plus along with Annexure A, Annexure A-1 & A-2 and Annexure B. Some of the requirements may be repeated/ more detailed in other Table. CBs need to address all requirements in all tables. CB needs to fill up items 1, 2, 3, 4 & 5 below and Col 3 of the checklist. CB to fill up items in Column 3; QCI AT to fill the rest.

| 1. | Name and address of the CB: |  |
| --- | --- | --- |
| 2. | Provisional approval applied for: |  |
| 3. | Application reference: |  |
| 4. | CB’s Documentation (CB to list) |  |
| 5. | Brief information about the CB (CB to provide): |  |
| 6. | Summary of observations: (To be filled by QCI AT): |  |
| 7. | Recommendations: (To be filled by QCI AT): |  |

| Names |  | Date – initial completion | Date first response | Date – Second response |
| --- | --- | --- | --- | --- |
| CB Representative |  |  |  |  |
| QCI assessors 1 |  |  |  |  |
| QCI assessors 2 |  |  |  |  |

| (1) | (2) | (3) | (4) | (5) |
| --- | --- | --- | --- | --- |
| Cl. No. | ICMED PLUS Scheme Requirements for Provisional Approval | QM/Procedure No. /Document no. /Format no. with Clause no., where a particular requirement is addressed (CB to provide details) | Compliance Yes (Y) / No (N) | QCI AT Review comments after assessment |
| Table – 1 |  |  |  |  |
| Requirement for Certification Bodies – ICMED 13485 Plus |  |  |  |  |
| 3.0 | General Requirements |  |  |  |
| 3.1 | Legal and Contractual Matters |  |  |  |
| 3.1.1 | In addition to the requirements as specified in the respective accreditation standards (clauses 4.1 of ISO17065:2012 and clauses 5.1 of ISO 17021-1:2015) following requirements shall apply |  |  |  |
| 3.1.2 | Certification agreement |  |  |  |
| 3.1.2.1 | The certification body shall ensure that its certification agreement requires that the client comply with the following requirements in addition to those specified in the respective standards as above: - Always fulfill the certification requirements including product requirements as specified in the ICMED 9000, ICMED 13485 and ICMED 13485 Plus criteria documents, the certification processes described in the documents “Indian Certification for Medical Device Scheme Certification Process for Systems Certification” and “Indian Certification for Medical Device Scheme Certification Process for Product Certification”, the requirements specified in this document, as applicable, and the changes in them as communicated by the certification body from time to time. - The certified manufacturing facility and its processes always fulfils the certification requirements. - The liability on account of non-conforming processes/ products shall rest with the certified manufacturing facility. - The client makes all necessary arrangements for the conduct of the initial and recertification onsite audit/evaluation, surveillance onsite audits/evaluations (announced and unannounced), onsite special/short notice audits/evaluations for the purpose of complaints investigation, etc. It shall also include provision for examining documentation and records, and access to the relevant equipment and facilities, products, location(s), area(s), personnel, and client's subcontractors, as needed. - The client shall make claims regarding certification only in respect of the location and the scope for which certification has been granted. - The client shall endeavor to ensure that no certificate or report or any part thereof is used in a misleading manner. - Client of the CB shall maintain a documented procedure for the complaint management for the medical devices under certification, for compliance to national requirements. Keeps a record of all complaints made known to the client relating to the compliance with certification requirement and to make these records available to the certification body for its verification. The client shall also agree to take appropriate action with respect to such complaints and any deficiencies found in products/process in accordance with the requirements of the Scheme. |  |  |  |
| 3.1.2.2 | Salient features to be part of the documented process to include: - Post Market surveillance and vigilance (timely reporting to regulatory authorities) process. - Serious event investigation and corrective action process. - Control of non-conforming products on the market (Refer ISO 13485:2016, Section 8.3), investigation process leading to advisory notice or product removal (field safety corrective action). - The client shall inform the certification body, without delay, of matters that may affect its ability to conform to the certification requirements. These shall include changes in the: |  |  |  |
| 3.1.2.3 | Legal, commercial, organizational status or ownership, including any changes in its licensing status for medical device manufacturing and the Memorandum of Association/Charter having any bearing on medical device manufacturing. |  |  |  |
| 3.1.2.4 | Organization and management (e. g. key managerial, decision-making or technical staff). - Contact address and production sites/premises. - Modifications in processes or the production methods, changes in manufacturing/testing equipment and in the internal control measures which are significant in nature. - Any other information indicating that the manufacturing facility may no longer comply with the requirements of the certification criteria and the certification scheme. |  |  |  |
| 3.1.2.5 | Records kept by the client in respect of the complaints received and their resolution shall be verified by the certification body during the surveillance visits to the client’s premises. |  |  |  |
| 3.1.2.6 | The client shall agree for re-audit/evaluation by the certification body as per the requirement of the certification scheme, in the event of changes significantly affecting its capability to comply with the requirements of the certification scheme. |  |  |  |
| 3.1.2.7 | The client shall also agree for re-evaluation by the certification body, in the event of changes in the standards to which compliance of the manufacturing facility is certified. |  |  |  |
| 3.1.2.8 | In addition to the requirements as specified above, the requirements specified vide clauses 3.5 (confidentiality) shall also be part of the agreement with the client. |  |  |  |
| 3.1.3 | Use of license, certificate, and marks of conformity - In addition to the requirements as specified in the respective accreditation standards (clause 4.1.3 of ISO 17065:2012 and clause 8.3 of ISO 17021-1:2015) following requirements shall apply: |  |  |  |
| 3.1.3.1 | The certification body shall document clear instructions to clients regarding appropriate use of certification mark(s)/certificate(s) and for providing information about their certification status. It shall also identify the aspects that would be considered as misleading and unauthorized as relevant to the relevant certification scheme. The certification agreement shall make appropriate cross references to the above document, so as to make it legally binding. Only in case of ICMED 13485 Plus, the mark(s) shall be used to imply that the medical device/product is certified. |  |  |  |
| 3.1.3.2 | In case the certification body operates more than one product/process certification schemes, then it may document a procedure specifying generic requirements common to all schemes and in line with the requirements of ISO 17021-1:2015 and ISO 17065:2012 and additional section with specific requirements as specified for the ICMED scheme. |  |  |  |
| 3.1.3.3 | The certification body shall ensure that the certificate is used only with reference to specific manufacturing facility. Accordingly, the Certification Mark shall be put on the product (also refer Labeling guidelines) carrying reference to the supplies made by the certified manufacturing facility and shall carry the following information as minimum: - Certification Mark (Under certification mark, CB’s identification by way of its accreditation no. as given by NABCB, and certificate no. will be marked) - CB Logo (Optional) |  |  |  |
| 3.1.3.4 | Certification mark shall be put only on the products included in the scope of certification as mentioned on the certificate issued by certification body. |  |  |  |
| 3.1.3.5 | The certification body shall have documented procedures for the measures to be adopted in case of non-compliances to specified requirements with respect to use of certification mark, misuse, including false claims as to certification and false use of certification body logo and these shall be part of its agreement with the certified manufacturing facility. The procedure shall include the process steps and the actions (including penal actions as relevant), the certification body intends to take in the event of observing misuse/misleading use of “ICMED certification” certificates and certification marks. |  |  |  |
| 3.1.3.6 | The certification body shall ensure that the applicants are not misusing the certification mark. |  |  |  |
| 3.2 | Impartiality related requirements – In addition to the requirements as specified in clauses 4.2 ISO17065:2012 and clauses 5.2 of ISO 17021-1:2015, following requirements shall apply. |  |  |  |
| 3.2.1 | The top management’s commitment to impartiality shall be demonstrated through: |  |  |  |
| 3.2.1.1 | Documenting the certification body’s policy on safeguarding impartiality and ensuring that it is understood at all levels of the organization. Implementing good practices like establishing “Code of Conduct” and requiring internal and external personnel to abide by it. |  |  |  |
| 3.2.1.2 | Having a defined institutional structure and impartiality policy and procedures, appropriate implementation of these policy and procedures and operation and conduct of its activities and personnel. |  |  |  |
| 3.2.1.3 | Having a system that ensures appropriate management of conflict of interest for ensuring objectivity of its certification functions. |  |  |  |
| 3.2.1.4 | Taking action to respond to any threats to its impartiality arising from the actions of other parts of the organization, persons outside of the organization, subcontractors, related bodies or other bodies or organizations. |  |  |  |
| 3.2.1.5 | Maintaining a professional environment and culture in the organization that supports a behavior of all personnel that is consistent with impartiality. |  |  |  |
| 3.2.1.6 | Making available to public through its website, its policy on impartiality. |  |  |  |
| 3.2.2 | The certification body shall not have any relationship with the client except third party conformity assessment. There shall be a minimum separation of 2 years before application can be entertained, in case the certification body has had a relationship with the client which is generic in nature, for example, internal audit, in house training, etc. In cases where the relationship pertained to medical devices specific (design/ processes/product/packaging & labeling/ marketing related) activities, then the certification body shall carry out impartiality risk analysis before entertaining the application. The purpose of the risk analysis shall be to ascertain if longer separation than two years is required from the last date of end of relationship as stated above or that the risk is of such unacceptable level, so as to prohibit certification by the certification body. Based on the risk analysis, appropriate decision shall be taken and the justification for the same shall be recorded. |  |  |  |
| 3.2.3 | Although, testing is considered as a conformity assessment activity, in case the certification body (the legal entity) also has a laboratory and if the manufacturing facility it has certified/intends to certify, has a contract/arrangement for getting its raw material and products samples, as per the frequency described in the relevant standards/ customer requirements, tested in its lab, then this is considered as an unacceptable threat to impartiality. In such cases, the certification body shall not certify such manufacturing facility. This provision shall also be applicable if the laboratory is a separate business unit within same legal entity as the certification body as well as if the lab belongs to a related body (a separate legal entity). Definition of Related Body – A relationship that threatens the impartiality of the certification body can be based on ownership, governance, management, personnel, shared resources, finances, contracts, marketing and payment of a sales commission or other inducement for the referral of new clients, etc. |  |  |  |
| 3.2.4 | The requirement in 3.2.3 above is not applicable in case the manufacturing facility uses a number of laboratories by rotation or otherwise. If the certification body and its client are both part of government, then the two bodies shall not directly report to a person or group having operational responsibility for both. The certification body shall, in view of the impartiality requirement, be able to demonstrate how it deals with a case where both itself and its client are part of government. The certification body shall demonstrate that the applicant receives no advantage, and that impartiality is assured. |  |  |  |
| 3.2.5 | When a relationship poses an unacceptable threat to impartiality then certification shall not be provided. Some of these situations requiring prohibitions as mitigation measures have been described vide clause 5.2 of ISO 17021-1:2015 and clause 4.2.6 of ISO 17065:2012. These shall be implemented together with the additional ones provided in this document. |  |  |  |
| 3.2.5.1 | In case the related body (Definition of related bodies under clause 3.2.3 of this document) is engaged in any of the activities like management system consultancy, internal auditing or training and as specified in clause 4.2.6 of ISO 17065:2012, then certification shall not be provided to the relevant client to whom these services may have been provided by the related body. There shall be a minimum separation of 2 years; in case the related body has had relationship which is generic (not specific) in nature, for example, internal audit, in-house training, etc. In cases where the relationship pertained to any services which were medical device manufacturing specific (design/processes/product/packaging & labeling/marketing related) activities, etc., then the certification body shall carry out impartiality risk analysis before entertaining the application. Purpose of risk analysis shall be to ascertain if, longer separation than two years is required from the last date of end of relationship as stated above or that the risk is of such unacceptable level so as to prohibit certification by the certification body. Based on the risk analysis appropriate decision shall be taken and the justification for the same shall be recorded. |  |  |  |
| 3.2.5.2 | The certification body shall not certify a manufacturing facility which has received consultancy for design/processes/product/packaging & labeling/marketing, internal evaluations/audit or training, where the relationship between the consultancy organization/individual and the certification body poses an unacceptable threat to the impartiality of the certification body. Allowing a minimum period of two years to elapse following the end of the relationship product consultancy is one way of reducing the threat to impartiality to an acceptable level however, it shall be considered based on the nature of services offered. |  |  |  |
| 3.2.5.3 | The certification body shall not outsource/subcontract any part of the certification work, evaluation, marketing, etc., to a legal entity that is engaged in designing, manufacture, installation, distribution or maintenance of the medical devices. It shall also not be outsourced to organizations who are engaged in management system consultancy, internal auditing and training and similar services to manufacturing facilities. |  |  |  |
| 3.2.6 | All certification body personnel, either internal or external, or committees, who could influence the manufacturing facility certification activities, shall act impartially, and shall not allow commercial, financial, or other pressures to compromise impartiality. Certification bodies shall require personnel, internal and external, to reveal any situation known to them that may present them or the certification body with a conflict of interests. These aspects shall be ensured through a signed agreement between the individuals and the certification body. Certification bodies shall use this information as input to identifying threats to impartiality raised by the activities of such personnel or by the organizations that employ them, and shall not use such personnel, internal or external. |  |  |  |
| 3.2.7 | The certification body’s personnel involved in certification activities shall be bound by the certification body’s impartiality policy and act impartially in their work through contractual or employment conditions and assignment conditions for each evaluation/audit activity. The certification body shall also take an undertaking with respect to freedom from conflict of interest for every audit/evaluation assignment allotted to the individuals. |  |  |  |
| 3.2.8 | The certification body’s personnel involved in certification activities shall not provide, while carrying out evaluation/audit, any advice, consultancy or recommendation to the client on how to address any deficiencies that may be identified during the evaluation/audit. |  |  |  |
| 3.2.9 | The certification body shall require its personnel, internal and external, to report any situation of influence or pressure from the client that may threaten their independence in the course of certification activities. Based on such report, the certification body shall take appropriate actions to ensure its independence in its certification work. |  |  |  |
| 3.2.10 | The certification body shall be responsible for ensuring that neither related bodies, nor sub-contractors, nor internal or external assessors/auditors operate in breach of the undertakings that they have given. It shall also be responsible for implementing appropriate corrective action in the event that such a breach is identified. |  |  |  |
| 3.2.11 | The certification body shall ensure that a conflict-of-interest analysis is carried out in accordance with the requirements specified in clauses 4.2.3/4.2.4 of ISO 17065:2012 and clause 5.2.2/ 5.2.3 of ISO 17021-1:2015, at least once annually and whenever a significant change occurs in the CB’s activities, such as changes in the organizational structure and business activities or of the legal status and mergers with, or acquisitions of other organizations. This analysis shall be approved by the impartiality committee (see clause 3.2) of this document) established by the certification body. |  |  |  |
| 3.2.12 | Further, where risks to impartiality have been identified as a result of risk analysis, the certification body shall establish and implement a documented procedure for mitigation of threats against impartiality. These shall be through any of the following mitigation means: |  |  |  |
| 3.2.12.1 | Not provide certification, since the situation poses unacceptable threat to impartiality prohibition. Some of the prohibitions are already stated in the respective standards (ISO17021-1:2015 and ISO 17065:2012) and this document. |  |  |  |
| 3.2.12.2 | Carry out the certification in a restricted manner based on disclosures. |  |  |  |
| 3.2.12.3 | Minimize the risks on the basis of clearly defined control points to ensure mitigation. |  |  |  |
| 3.3 | Liability and financing |  |  |  |
| 3.3.1 | In addition to the requirements as specified in clause 5.3 of ISO 17021-1:2015 and clause 4.3 of ISO17065:2012, following requirements shall apply. The requirements as specified above are applicable to all the schemes as specified in clause 2.2 of this document. |  |  |  |
| 3.3.2 | The certification body shall also be able to demonstrate that it has evaluated the risks arising from its certification activities and that it has adequate arrangements (e. g. insurance or reserves) to cover liabilities arising from its operations in each of its fields of activities and the geographic areas in which it operates. |  |  |  |
| 3.3.3 | The certification body shall be able to demonstrate that it has a reasonable expectation of being able to provide and to continue to provide the service in accordance with its contractual obligations. Certification bodies shall also be able to provide sufficient evidence to demonstrate its viability, e. g. management reports or minutes, annual reports, financial audit reports, financial plans, etc. |  |  |  |
| 3.3.4 | The means by which the certification body obtains financial support shall be such to allow the certification body to retain its impartiality. |  |  |  |
| 3.3.5 | In addition to the above the certification body shall also demonstrate to the Impartiality committee, that initially, and on an ongoing basis, commercial, financial, or other pressures do not compromise its impartiality. |  |  |  |
| 3.4 | Non-discriminatory Conditions |  |  |  |
| 3.4.1 | The certification body shall have means of demonstrating compliance to the requirements of clause 4.4 of ISO 17065:2012, through its policies and procedures as well as actual practice. |  |  |  |
| 3.4.2 | The certification body’s policies and procedures shall ensure that it does not practice any form of hidden discrimination by speeding up or delaying the processing of applications. |  |  |  |
| 3.4.3 | Certification Fees |  |  |  |
| 3.4.3.1 | The requirements as specified in clause of the document “Indian Certification for Medical Devices - Certification Process” shall apply. |  |  |  |
| 3.4.3.2 | The certification body’s fee structure shall be publicly available on its website. The structure shall provide break up of costs. |  |  |  |
| 3.4.3.3 | On request from a specific applicant/client, based on the specific conditions concerning the applicant, the certification body shall inform the applicable fees, which shall essentially be derived from the fee structure made publicly available. It shall not substantially differ from the one available publicly, unless some plausible justifications are recorded. |  |  |  |
| 3.5 | Confidentiality - In addition to the requirements as prescribed in the respective accreditation standards (clause 8.4 of ISO 17021-1:2015 and clause 4.5 of ISO17065:2012) following requirements shall apply: |  |  |  |
| 3.5.1 | Personnel, including any committee members, contractors, personnel of external bodies or individuals acting on the certification body's behalf, shall keep confidential all information obtained or created during the performance of the certification body's activities. There shall be a mechanism such as obtaining signed confidentiality agreements, etc., for ensuring the same. |  |  |  |
| 3.5.2 | The certification body shall have available and use equipment and facilities that ensure the secure handling of confidential information (e. g. documents, records). |  |  |  |
| 3.5.3 | When confidential information is made available to other bodies (e. g. accreditation body, agreement group of a peer assessment scheme), the certification body shall inform its client of this action, in advance, through agreements, etc. |  |  |  |
| 3.5.4 | In case of transfer of certificate or application, when the client decides to move from one certification body to another certification body, the certification body to which the client is now moving may ask the previous certification body for information on the reasons for such movement or the performance of the client with respect to the certification requirements. The previous certification body shall be obliged to share this information within a reasonable time, not exceeding 10 days from the date of receipt of the request. Such information shall not be considered as confidential and the certification body shall inform its client of this requirement, in advance, through agreements, etc. |  |  |  |
| 3.6 | Information Requirements - In addition to the requirements as specified in the respective accreditation standards (clauses 8.1, 8.5 of ISO 17021-1:2015 and clause 4.6 of ISO 17065:2012) and the document “Medical devices manufacturer Certification Process”, the following requirements shall apply: |  |  |  |
| 3.6.1 | Publicly available information |  |  |  |
| 3.6.1.1 | Making the information publicly available through the certification body’s website shall be the only means of meeting this requirement. |  |  |  |
| 3.6.1.2 | The following information with respect to Indian Certification for Medical Devices Scheme shall be made publicly available on the certification body’s website. The information provided shall be accurate, non-misleading and where relevant detailed enough for the reader to clearly understand: - Information related to the terms and conditions of certification and the use of certificates/certification mark for ICMED Scheme, as contained in the Certification Agreement (clause 4 of this document). A description of the rights and duties of applicants and clients, including requirements, restrictions or limitations on the use of the certification body's name and certification mark and on the ways of referring to the certification granted. - The CB may also provide any other guidance documents on the certification criteria for the benefit of the applicant, as long as they are not advisory/consultative in nature. - The certification body shall make publicly available on its website the information about applications registered and certifications granted, suspended, or withdrawn. - On request from any party, the certification body shall provide the means to confirm the validity of a given certification and the provision for the same shall be made available on the website. - The certification body shall maintain and make publicly available on its website, a directory of valid certifications under “Indian certification for Medical devices” scheme that as a minimum shall show the name, relevant certification criteria, scope and geographical location (e. g. city and country) and contact details for each applicant and certified client and validity of certification for the certified clients. Please also see additional requirements given in the document “Indian certification for Medical devices” Certification Process, which are required to be placed on the certification bodies website. |  |  |  |
| 3.6.1.3 | The certification body shall also make arrangement for providing and up-dating of information with respect to status of certified clients. The certification body shall have procedure for frequent updating of the information on its website. The responsibilities for ensuring accuracy of the information made available on the website, ensuring frequent updates, etc. shall be documented. |  |  |  |
| 3.6.1.4 | The information on complaints handling process and the certification body’s procedure shall be directly available to the public, without the public having to go through layers of cross linkages. |  |  |  |
| 3.6.2 | Directory of Medical Device manufacturers and Medical Devices certified under this Scheme |  |  |  |
| 3.6.2.1 | The certification body shall maintain and make publicly available on its website, directory of valid certifications that as a minimum shall show the name, relevant certification criteria (normative document), scope of certification, geographical location (e. g. city and country) and validity of certification for each certified Medical Device manufacturer. The information maintained by the Certification Body on its website shall also help the user to get readily the following information about the certified Medical Device: - Identification of the Medical Device. - The standard(s) and other normative document(s) to which conformity has been certified. - Identification of the certified Medical Device manufacturers and other details like - address, etc. |  |  |  |
| 3.6.2.2 | The Certification Body shall also display suitably on its website the names of Medical Device manufacturers under suspension and those whose certificates have been cancelled. |  |  |  |
| 3.6.2.3 | Apart from the information made available on its website the Certification Body shall also have a provision and system for confirming validity of a certificate on request. |  |  |  |
| 3.6.2.4 | The Certification Body shall have a procedure for frequent updating of the information on its website. |  |  |  |
| 3.6.2.5 | Information to be available on certification body’s website and by other modes shall include: - An application form to be used by the manufacturer. - Reference to the Certification Criteria. - Procedure for obtaining certification under the ICMED Scheme, a detailed description of the initial and continuing certification activity, including the application, initial evaluation, periodic/market surveillance, evaluations, and the process for granting, maintaining, reducing, extending, suspending, withdrawing certification and re-certification. - List of documents required to be submitted along with the application. - Information about the fees for application, initial certification and continuing certification and policy for the fee. - Documents describing the rights and duties of applicants/ certified clients, and - Information on procedures for handling complaints, feedbacks and appeals. |  |  |  |
| 3.6.3 | Information Exchange Between a Certification Body and its Clients |  |  |  |
| 3.6.3.1 | Information on the certification activity and requirements- The certification body shall provide and update clients on the following: - a detailed description of the initial and continuing certification activity, including the application, initial audit/evaluation, surveillance audit/evaluation, and the process for granting, maintaining, reducing, extending, suspending, withdrawing certification and recertification. - the certification criteria for ICMED scheme. - information about the fees for application, initial certification and continuing certification. - the certification body's requirements for prospective clients. - documents describing the rights and duties of certified clients as well as obligations on part of the certification body including the changes within certified manufacturing facility that need to be informed to the certification body, information on procedures for handling complaints both by the certification body as well by the certified manufacturing facility, in respect of complaints against certified facilities and appeals. |  |  |  |
| 3.6.2.2 | Based on the changes affecting certification, including those initiated by the client, the certification body shall decide upon the appropriate actions in accordance with its documented procedure, which shall include any of the actions as specified in clause 7.10.3 of ISO 17065: 2012, singly or in accordance with its documented procedure, which shall include any of the actions as specified in clause 7.10.3 of ISO 17065: 2012, singly or in combination. Responsibility for deciding about the course of actions to be taken shall also be documented. |  |  |  |
| 4. | Structural Requirements |  |  |  |
| 4.1 | In addition to the requirements as specified in the respective accreditation standards (clause 6 of ISO 17021-1:2015 and clause 5 of ISO17065:2012) following requirements shall apply: |  |  |  |
| 4.2 | Organizational Structure and Top Management |  |  |  |
| 4.2.1 | The organization structure shall include structure of the parent body (legal entity) if separate from the department/division that offers certification. It shall also include structure of the related departments in relation to the department offering certification services. |  |  |  |
| 4.2.2 | The certification body shall identify and document all related bodies (separate legal entities) as well as other departments of the same legal entity and their activities and functions and their relationships with the certification body when describing its organizational structure. This shall cover all relationships and related bodies, bodies related to the certification body based on ownership; governance; management; management personnel; shared resources, finances, contracts, and marketing. The activities of all related bodies shall also be documented for the purpose of identifying any potential conflict of interest. The certification body shall also have a system for disclosure and documentation of the types of activities carried out by its internal and external personnel and subcontractors in general and in particular regarding the designing of relevant product/process/service, consultation, internal evaluation/ auditing, training, etc. The above information shall also be used for identification of actual/potential risks to impartiality. |  |  |  |
| 4.2.3 | The identification of responsibilities, however done, shall clearly and unambiguously reflect the responsibilities for activities/functions as described vide clause 6.1.3 of ISO 17021-1:2015 and clause 5.1.3 of ISO/IEC 17065:2012. |  |  |  |
| 4.2.4 | The requirement specified vide clause 5.1.4 of ISO/IEC 17065:2012 shall cover the Impartiality committee and any other committees, if established by the certification body for certification scheme development, planning for certification evaluation (sampling and determination), certification review and decision making, appeals process, etc. |  |  |  |
| 4.3 | Mechanism (Impartiality Committee) for Safeguarding Impartiality |  |  |  |
| 4.3.1 | An Impartiality committee with specific responsibility for safeguarding the certification body’s impartiality in its certification functions and for ensuring that the policy on safeguarding impartiality and related procedures and other systems are effectively implemented shall be the only means of fulfilling this requirement. The impartiality committee as specified in notes in clause 5.2.3 of ISO 17021-1:2015 will fulfil the requirement as specified in this document. |  |  |  |
| 4.3.2 | The Impartiality Committee shall: |  |  |  |
| 4.3.2.1 | Assist the certification body in developing the policies relating to impartiality of its certification activities, |  |  |  |
| 4.3.2.2 | Counteract any tendency on the part of a certification body to allow commercial or other considerations to prevent the consistent objective provision of certification activities, |  |  |  |
| 4.3.2.3 | Advise on matters affecting confidence in certification, including openness and public perception, |  |  |  |
| 4.3.2.4 | Conduct a review, at least once annually, of the impartiality of the audit, certification, and decision-making processes of the certification body, and |  |  |  |
| 4.3.2.5 | Approve the conflict-of-interest analysis and the mitigation measures described in clause 3.2 of this document. |  |  |  |
| 4.3.2.6 | Other tasks or duties may be assigned to the committee provided these additional tasks or duties do not compromise its essential role of ensuring impartiality. |  |  |  |
| 4.3.2.7 | The composition, terms of reference, duties, authorities, competence of members and responsibilities of this committee shall be formally documented and authorized by the top management of the certification. |  |  |  |
| 4.3.2.8 | This committee shall meet regularly, at least once a year, and a complete record of the proceedings of this committee shall be maintained. |  |  |  |
| 4.3.3 | The certification body shall ensure that: |  |  |  |
| 4.3.3.1 | The committee for safeguarding impartiality shall be separated from the management of the certification body operations and established at the highest level within the organization, independent of its day-to-day operations. |  |  |  |
| 4.3.3.2 | In the composition of the committee, participation of key interested parties shall be ensured, with a representation of a balance of interests such that no single interest predominates. Internal or external personnel of the certification body are considered to be a single interest and shall not predominate. |  |  |  |
| 4.3.4 | Its chairman shall be a person independent from and external to the certification body. |  |  |  |
| 4.3.5 | Impartiality Committee meetings may be observed by the Accreditation Body’s Assessment Teams as part of the Certification body’s accreditation process. |  |  |  |
| 4.3.6 | Although every interest cannot be represented in the Committee, a certification body shall identify and invite significantly interested parties. Such interests may include, clients of the certification body, customers of organizations whose management systems are certified, representatives of industry trade associations, representatives of governmental regulatory bodies or other governmental services, or representatives of non-governmental organizations, including consumer organizations. The invited representative to impartiality committee shall be some way related to medical devices field. |  |  |  |
| 5. | Resource Requirements and Team Competence Requirements |  |  |  |
| 5.1 | In addition to all generic personnel related requirements as specified in clause 7 of ISO 17021-1:2015 and clause 6 of ISO17065:2012, other requirements are described below. |  |  |  |
| 5.2.1 | The auditors/evaluators of the certification body carrying out the audit/evaluation of the manufacturing facility against the criteria for ICMED 9000 shall meet the following requirements: |  |  |  |
| 5.2.1.1 | Qualifications: A graduate in Biotechnology or degree in Electrical Engineering or Electronics Engineering or Chemical Engineering or Biomedical Engineering or Mechanical Engineering from a University recognized by the Central Government for such purposes, followed by 2 years’ experience of manufacturing or research or quality assurance in medical device field. OR a Graduate in Science, from a university recognized by the Central Government for such purposes followed by a minimum of 3 years’ experience in the manufacturing or research or quality assurance in medical device field. OR a Diploma in Engineering or Pharmacy from a Board or Institute recognized by the Central Government or the State Government, as the case may be, for such purposes followed with a minimum of 4 years’ experience in the manufacturing or quality assurance in medical device field. |  |  |  |
| 5.2.1.2 | Auditor experience - For a first authorization, the auditor shall comply with criteria, which shall be demonstrated in audits under guidance and supervision. |  |  |  |
| 5.2.1.3 | The auditor shall have gained experience in the entire process of auditing medical device quality management system, including review of documentation and risk management of medical devices, implementation audit and audit reporting. This experience shall have been gained by participation as a trainee in a minimum of two audits for a total of at least 10 man-days under an accredited QMS programme. |  |  |  |
| 5.2.1.4 | The audit team leaders shall have performed as an audit team leader under the supervision of a qualified team leader in at least three ISO 9001 audits for ICMED 9000. |  |  |  |
| 5.2.1.5 | The knowledge and skills for personnel involved with the ICMED 9000 certification is as defined in Annexure A of ISO 17021-1: 2015 shall be applicable. |  |  |  |
| 5.2.1.6 | The auditor/evaluator involved in offsite documentation review of information received with the application/document review before going for onsite assessment shall have the qualifications as described in clause 5.2.1 of this document. |  |  |  |
| 5.2.1.7 | The certification body may use ISO 9001 auditors who do not have the requisite qualifications as prescribed above provided they are supported by technical experts (TEs) who meet the qualifications. The time spent by the TE on an audit shall be in addition to the audit time as prescribed under the ‘Certification Process’ which the CB is expected to spend. |  |  |  |
| 5.2.1.8 | One of the auditors/evaluators in the team shall be nominated as the team leader (TL). The team leader shall be an ISO 9001 TL Auditor for ICMED 9000, qualified as team leader as per the requirement given in ISO 17021-1:2015 /ISO 17065:2012. |  |  |  |
| 5.2.1.9 | The certification body will have a system for qualifying lead auditor/evaluators for “Indian Certification for Medical devices” scheme, based on experience of having performed. |  |  |  |
| 5.2.1.10 | For ICMED 9000 at least three audits/evaluations under the medical device manufacturer certification ICMED 9000 scheme. For one-time initial qualification, some other evaluation methods such as audit experience as team leader in other similar areas, may be used. |  |  |  |
| 5.2.1.11 | While carrying out audit/evaluation of a manufacturer facility for ICMED criteria requirements as specified, the audit team shall collectively have competence as specified above in clauses 5.2.1 to 5.2.1.10 above. |  |  |  |
| 5.2.2 | The auditors/evaluators of the certification body carrying out the audit/evaluation of the manufacturing facility against the criteria for, ICMED 13485 and ICMED 13485 PLUS as described in clause 2.2 above shall meet the requirements of ISO 17021-1:2015, IAF MD 9:2022 and requirements described in document “ICMED - CBs Auditor Competence Requirements”. |  |  |  |
| 5.3 | Other certification body personnel as relevant to the Indian certification for medical device scheme: Other certification body personnel involved in the scheme certification evaluation activities shall have the competence as stated below: |  |  |  |
| 5.3.1 | Application Review personnel – The functions to be carried out by the personnel involved in review of application review is to confirm the adequacy of the information provided by the applicant and identification of the deficiencies observed. Further in case the application reviewer also needs to carry out man-day estimation and team nomination, the persons involved in application review process, shall have thorough knowledge of “Indian certification for Medical devices scheme” requirements as defined in this document and “certification process” documents, in addition to meeting the requirements specified in the relevant requirements for application review personnel as specified in ISO 17021-1:2015/ISO 17065:2012. The application review personnel shall be qualified based on experience of having performed at least three application reviews under the Indian certification for medical device scheme or through any other equivalent route. |  |  |  |
| 5.3.2 | Technical Reviewer – The certification body personnel involved in technical review function shall have the same requirement as that specified in clause 5.2.1 of this document. The technical reviewer shall also meet the qualification criteria as specified in the relevant requirements of ISO17021-1:2015/ISO 17065:2012 and shall preferably be qualified on the basis of demonstrated competence to carry out the review function say based on experience of having performed at least three technical reviews under the “Indian certification for medical device scheme”. The technical reviewer shall be independent from the audit/evaluation team. Only person(s) employed by the certification body or on long term (2 – 3 years) full time contract with the certification body shall be entrusted the responsibility of technical review functions. |  |  |  |
| 5.3.3 | Decision maker - Any authorized person(s) of the certification body, independent of the persons involved in the evaluation function. |  |  |  |
| 5.3.3.1 | The person(s) or committee, who take(s) the decision on granting certification under the ICMED 9000 and ICMED 13485 scheme, shall have a level of knowledge and experience as defined in annexure A of ISO 17021-1:2015 and Annexure B of IAF MD 9-2017 respectively to evaluate the information obtained from the evaluation process and the review. |  |  |  |
| 5.3.3.2 | Certification body shall ensure that personnel (group or individual) making the certification decision fulfil the competence as per 5.3 This does not mean that each individual in the group needs to comply with all requirements, but the group as a whole shall meet all the requirements. When the certification decision is made by an individual, the individual shall meet all the requirements. |  |  |  |
| 5.3.3.3 | The technical review and the decision may be completed concurrently by the same person(s), provided they fulfil the necessary requirements as specified in clause 5.3.2 & 5.3.3 above and has been specifically authorized for decision making functions. |  |  |  |
| 5.3.3.4 | Impartiality and absence of conflict of interest shall be ensured before entrusting the task of certification decision making. |  |  |  |
| 6 | Certification Document |  |  |  |
| 6.1 | The certificate to be issued to certified manufacturing facility for the options as specified in clause 2.2 of this document shall be as per the certification document template as enclosed vide Annex A. However, a certificate shall have at least the following information. - Certificate number - Certification scheme name - Reference to certification criteria - Manufacturer’s name (that of the legal entity) with all locations in the schedule - Certified manufacturing facilities address - Scope of certification - Scheme logo - logo of the CB - Accreditation number with logo - Date of certification - Expiry date - Signature of the CB's authorized representative |  |  |  |
| 6.2 | In case of Multi Site certification, the CB shall annex to the certificate the list of the certified manufacturing facilities. The temporary sites shall not be included. |  |  |  |
| 7. | Complaints and Appeals Handling System |  |  |  |
| 7.1 | All the requirement as specified in clauses 9.7 and 9.8 of ISO 17021-1:2015, clause 7.13 of ISO 17065:2012 and those specified in the document” ICMED - Certification Process” are applicable. In addition, the requirements specified below are also applicable. |  |  |  |
| 7.2 | In case of complaints related to a certified client and the products manufactured by the certified client, the examination and evaluation of the complaints shall take into consideration the effectiveness and implementation of the client’s applicable audit criteria (i.e., certification level for which client is certified). The process of establishing validity of the complaint shall generally involve processes like conduct of additional surveillance activities – visit to certified client’s premises for special evaluation, testing and evaluation of the manufacturing process as per implemented system in the manufacturing facility, if necessary. The decisions on complaint shall then be based on the result of additional surveillance activities. |  |  |  |
| 7.2.1 | The certification body’s complaint handling process shall document the actions to be taken by the certification body as well as the certified client, in case the complaint is established to be valid, and manufacturer’s controls are found to be non-compliant with respect to the specified criteria. Some of these actions/conditions shall also be included in the certification body’s legally enforceable contract with the client. |  |  |  |
| 7.2.2 | In respect of appeals, the certification body shall ensure that the individual(s)/committee entrusted with handling of appeal and its resolution/ decision shall be independent of the persons involved in certification related recommendations and decision and their position in the certification body shall be such that it shall not be possible to influence their decisions with respect to the subject of the appeal. |  |  |  |
| 7.2.2.1 | The procedure shall also have provision for giving a written statement to the appellant, of the appeal findings including the reasons for the decisions reached and also communicating to the appellant about the provision for giving an opportunity to formally present his case. Based on the presentation made, the individual or a committee appointed for hearing the case shall take a final decision on the appeal and a formal notice of the outcome and the end of the appeal process shall be given to the appellant. |  |  |  |
| 8. | Management System Requirements |  |  |  |
| 8.1 | In addition to the requirements as specified in the respective accreditation standards (Clauses 9.9 (records) & 10 of ISO 17021-1:2015 and clauses 7.12 (records) & 8 of ISO 17065:2012) following requirements shall also apply: |  |  |  |
| 8.2 | Documentation requirements: |  |  |  |
|  | The certification body shall document its “Indian Certification for Medical device” scheme specific documentation in accordance with the requirements specified in the document “Indian certification for medical device scheme “Certification Process” and this document, in order to ensure that the certified clients comply with the requirements specified in ICMED 9000, ICMED 13485 and ICMED 13485 Plus, as applicable. |  |  |  |
| 8.2.1 | The certification body shall document its “Indian Certification for Medical device” scheme specific documentation in accordance with the requirements specified in the document “Indian certification for medical device scheme “Certification Process” and this document, in order to ensure that the certified clients comply with the requirements specified in ICMED 9000, ICMED 13485 and ICMED 13485 Plus, as applicable. |  |  |  |
| 8.2.2 | All applicable requirements of the above document shall be addressed either in a manual or in a combination of manual and associated operational procedures. |  |  |  |
| 8.2.3 | Conformity assessment activities ICMED 13485 Plus: CB and its personnel shall carry out the conformity assessment activities with the highest degree of professional integrity and the requisite technical and scientific competence in the specific fields. |  |  |  |
| 8.2.4 | CB shall have expertise, facilities and documented procedures that are sufficient to effectively conduct the conformity assessment activities for which CB has been accredited taking account of the relevant requirements pertaining to ICMED 13485 Plus, certification. |  |  |  |
| 8.2.4.1 | appropriately plan the conduct of each individual project (QMS assessment, Design & Development, Risk Management, Biocompatibility, Preclinical and Clinical reports/data, Post marketing surveillance & Vigilance, and Post marketing clinical follow-up etc.) under ICMED 13485 Plus certification. |  |  |  |
| 8.2.4.2 | specify the rationale for fixing time limits for completion of conformity assessment activities. |  |  |  |
| 8.2.4.3 | assess the manufacturer's technical documentation and the solutions adopted to meet the requirements. |  |  |  |
| 8.2.4.4 | review the manufacturer's procedures and documentation relating to the evaluation of pre-clinical aspects. |  |  |  |
| 8.2.4.5 | review the manufacturer's procedures and documentation relating to clinical evaluation, |  |  |  |
| 8.2.4.6 | address the interface between the manufacturer's risk management process and its appraisal and analysis of the pre-clinical and clinical evaluation and to evaluate their relevance for the demonstration of conformity with the relevant requirements (Essential Principles of Safety & Performance). |  |  |  |
| 8.2.4.7 | in the case of class B or class C devices, assess the technical documentation of devices selected on a representative basis. |  |  |  |
| 8.2.4.8 | verify that the manufactured device is in conformity with the technical documentation, and such requirements shall define the relevant sampling criteria and testing procedure prior to sampling. |  |  |  |
| 8.2.5 | Assessment of the Technical Documentation: For assessment of the technical documentation, CB shall have sufficient expertise, facilities, and documented procedures for: |  |  |  |
| 8.2.5.1 | the allocation of appropriately qualified and authorized personnel for the examination of individual aspects such as use of the device, biocompatibility, clinical evaluation, risk management, and sterilization of devices. |  |  |  |
| 8.2.5.2 | the assessment of conformity of the design with the Requirements |  |  |  |
| 8.2.5.3 | the assessment shall include examination of the implementation by manufacturers of incoming, in-process and final checks and the results thereof. |  |  |  |
| 8.2.5.4 | If further tests or other evidence is required for the assessment of conformity with the requirements CB shall carry out adequate physical or laboratory tests in relation to the device or request the manufacturer to carry out such tests. |  |  |  |
| 8.2.6 | Clinical Evaluation Assessment The CB shall have documented procedures in place relating to the assessment of a manufacturer's procedures and documentation relating to clinical evaluation both for initial conformity assessment and on an ongoing basis and CB shall examine, validate, and verify that manufacturers' procedures and documentation address: |  |  |  |
| 8.2.6.1 | the planning, conduct, assessment, reporting and updating of the clinical evaluation, post-market surveillance and post marketing clinical follow-up (PMCF). |  |  |  |
| 8.2.6.2 | the interface with the risk management process. |  |  |  |
| 8.2.6.3 | the appraisal and analysis of the available data and its relevance with regard to demonstrating conformity with the relevant requirements (Essential principles of safety and performance). |  |  |  |
| 8.2.6.4 | the conclusions drawn with regard to the clinical evidence and drawing up of the clinical evaluation report. |  |  |  |
| 8.2.6.5 | the intended use specified by the manufacturer and claims for the device defined by it. |  |  |  |
| 8.2.6.6 | the planning of the clinical evaluation. |  |  |  |
| 8.2.6.7 | the methodology for the literature search. |  |  |  |
| 8.2.6.8 | relevant documentation from the literature search. |  |  |  |
| 8.2.6.9 | the clinical investigation. |  |  |  |
| 8.2.6.10 | validity of equivalence claimed in relation to other devices, the demonstration of equivalence, the suitability, and conclusions data from equivalent and similar devices. |  |  |  |
| 8.2.6.11 | post-market surveillance and PMCF. |  |  |  |
| 8.2.6.12 | the clinical evaluation report, and, |  |  |  |
| 8.2.6.13 | justifications in relation to non-performance of clinical investigations or PMCF. |  |  |  |
| 8.2.7 | Conclusions of the Assessment, CB shall: |  |  |  |
| 8.2.7.1 | ensure that all steps of the conformity assessment are documented so that the conclusions of the assessment are clear and demonstrate compliance with the requirements, and also to standards applied by the client, and these conclusions can represent objective evidence of such compliance to persons that are not themselves involved in the assessment, for example personnel in accreditation body or regulatory authorities. |  |  |  |
| 8.2.7.2 | clearly document the conclusions of its assessment of clinical evaluation in a clinical evaluation assessment report, and |  |  |  |
| 8.2.7.3 | for each specific project, provide a detailed report which shall be based on a standard format containing a minimum set of elements. |  |  |  |
| 8.2.7.4 | The report of the notified body shall: - clearly document the outcome of its assessment and draw clear conclusions from the verification of the manufacturer's conformity with the requirements. - decide, based on the assessment documentation and additional information available, whether the requirements are fulfilled. - decide, based on the results of its assessment of the clinical evaluation and risk management, whether the post-market surveillance plan, including the PMCF plan, is adequate. - decide, based on the novelty, risk classification, clinical evaluation, and conclusions from the risk analysis of the device, on a period of certification not exceeding five years. - clearly document decision making and approval steps including approval by signature of the members of personnel responsible. |  |  |  |
| 8.3 | Requirements with respect to records |  |  |  |
| 8.3.1 | Records of Applicant and Clients – The certification (applicants and clients) related records shall include records for all organizations, including all organizations that submitted applications, and all organizations evaluated, manufacturing facility certified or with certification suspended or withdrawn/cancelled. Specifically, the records shall include the following: |  |  |  |
| 8.3.1.1 | Application information and results of application review and man days estimation and team competence records. |  |  |  |
| 8.3.1.2 | Audit/Evaluation planning including decision on site visits in case of multisite certification and preparation records, evaluation plans and other related records. |  |  |  |
| 8.3.1.3 | Justification for audit/evaluation time determination/man days estimation. |  |  |  |
| 8.3.1.4 | Records of initial/surveillance and recertification audit/evaluation reports and related records. |  |  |  |
| 8.3.1.5 | Records of verification of correction and corrective actions. |  |  |  |
| 8.3.1.6 | Records of technical review and certification decisions, committee deliberations and decisions, if applicable. |  |  |  |
| 8.3.1.7 | Certification agreement. |  |  |  |
| 8.3.1.8 | Certification Documentation including scope of certification. |  |  |  |
| 8.3.1.9 | Records of complaints and appeals, and any subsequent correction or corrective actions. |  |  |  |
| 8.3.2 | Other Records – The certification body shall also maintain the following records: |  |  |  |
| 8.3.2.1 | Related records necessary to establish the credibility of the certification of ICMED Scheme, such as evidence of the competence of auditors/evaluators, technical experts, technical review personnel and decision makers, etc., as relevant. |  |  |  |
| 8.3.2.2 | Any other records as relevant to the ICMED Scheme “Certification Process”, in order to provide confidence that the scheme requirements were complied with. |  |  |  |
| 8.3.3 | Internal audit – following additional requirements shall be applicable: |  |  |  |
| 8.3.3.1 | The objectives of the internal audit shall also include verification of fulfilment of requirements of the additional ICMED scheme specific requirements as specified in ICMED scheme “Certification Process” and this document. |  |  |  |
| 8.3.3.2 | The audit program shall cover all applicable elements of ISO 17021-1:2015, ISO 17065:2012 and those specified in ICMED scheme “Certification Process” and this document. |  |  |  |
| 8.3.3.3 | The internal audit shall be conducted by personnel knowledgeable in certification, auditing, and the requirements of ISO 17021-1:2015, ISO 17065: 2012 and the scheme specific requirements as specified in “ICMED scheme “Certification Process” and this document. |  |  |  |
| 8.3.3.4 | The internal audit report shall clearly report both the compliance (to the requirements specified vide clause 8.3.3 and the certification body’s own systems) aspects as well as the observed gaps (non-conformities), areas for improvement, along with the objective evidence to support the conclusions drawn. |  |  |  |

| (1) | (2) | (3) | (4) | (5) |
| --- | --- | --- | --- | --- |
| Cl. No. | ICMED PLUS Scheme Requirements for Provisional Approval | QM/Procedure No. /Document no. /Format no. with Clause no., where a particular requirement is addressed (CB to provide details) | Compliance Yes (Y) / No (N) | QCI AT Review comments after assessment |
| Table - 2 |  |  |  |  |
| Certification Process for ICMED 13485 Plus along with Annexure A, Annexure A-1 & A-2 and Annexure B. |  |  |  |  |
| 4. | Certification Process |  |  |  |
| 4.1 | Registration of Application |  |  |  |
| 4.1.1 | The CB shall provide the applicant, Medical Device manufacturer, with an up-to-date detailed description of the evaluation and certification procedures, the documents containing the requirements for certification, the applicant’s rights, and the duties of Medical Device manufacturer (including fees to be paid by applicants or Medical Device manufacturer of certified products). |  |  |  |
| 4.1.2 | The above information along with the application format shall be made available on the CB’s website. |  |  |  |
| 4.1.3 | The CB may design its own application format for the ICMED 13485 Plus Certification for Medical Devices, and while doing so shall ensure that as a minimum the following information is obtained from the device manufacturer pertaining to its manufacturing operations and each Manufacturing site involved in the medical devices to be certified. |  |  |  |
| 4.1.3.1 | The manufacturer shall be a legal entity, or a defined part of a legal entity that can be held legally responsible for all its manufacturing activities and products. A certificate of incorporation, or registration certificate or any other document indicating legal status and constitution details of manufacturer need to be submitted. |  |  |  |
| 4.1.3.2 | A copy of licence (or registration), if applicable for the manufacturing site or establishment or plant along with the general information about the Medical Device manufacturer including its name; the address of its physical location; contact details; its functions and relationship in a larger organization, if any. |  |  |  |
| 4.1.3.3 | Site or plant Quality Manual as per requirements of ICMED 13485 scheme. |  |  |  |
| 4.1.3.4 | Following device Details for a Class A medical device (Technical Documentation, Annexure B, Section 1 to 9): - Device description, intended use of the device, specifications including variants and accessories. - Material of construction for medical devices other than in vitro diagnostic medical devices, or a summary of analytical technology, relevant analytes, and test procedure for in vitro diagnostic medical devices. - Working principle and use of a novel technology (if any). - Labels, package inserts (IFU, etc.), user manual, wherever applicable, - Summary of any reported Serious Adverse Event and action taken by the manufacturer for medical devices other than in vitro diagnostic medical devices, or analytical performance summary including sensitivity and specificity for in vitro diagnostic medical devices. - Technical Documentation for a Class B, Class C or Class D medical device, as specified in Annexure B, Section 8, for medical devices other than in vitro diagnostic medical devices, or Annexure B Section 9 for in vitro diagnostic medical devices. Note: In certain regulations Technical Documentation is also referred to as Device Master File. For technical documentation details manufacturer to refer to “Certification criteria for product certification”. - Essential Principles checklist for demonstrating conformity to the Essential Principles of Safety and Performance (also referred as ‘General Safety and Performance Requirements’) of the Medical Device, including in vitro diagnostic medical device. - Copy of ICMED 13485 certificate (if already certified) and copy of Quality Manual indicating that the manufacturing site is in compliance with the provisions of the ICMED 13485, as applicable. - In case of in vitro diagnostic medical devices, a copy of performance evaluation report of manufacturer or evaluation report issued by a NABL accredited medical device testing laboratory. - Information about judicial proceedings relating to its operations/product, any proceedings by any Regulatory body or suspension/cancellation/withdrawal of any relevant certifications/approvals under any Regulations. - General information about the applicant’s activities, description of production processes, details of manufacturing facilities, technological context, facility layout, its human and technical resources (Internal as well as external, contracted, etc.), number of shifts of operation, information on in-house laboratory, if any, accessibility to external NABL accredited testing facilities. - The controls exercised by the applicant for ensuring product conformity to the requirements described in the relevant certification criteria, including Quality Assurance measures/plan. - Information concerning all processes outsourced, if any, by the applicant that have potential to affect conformity to requirements, with name(s) and address of the outsourced organization(s). The controls the Medical Device manufacturer exercises for ensuring compliance to applicable certification criteria is required to be submitted at the application stage itself. - All other information considered essential for man-day estimations, competence and audit plan. |  |  |  |
| 4.1.4 | The MD manufacturer shall apply to an approved Certification Body (CB) on the application form as prescribed by the CB providing the information as listed in Section. |  |  |  |
| 4.1.5 | (Constitution of organization, company name and the address of its physical location(s); contact details; legal status; its functions and relationship in a larger organization, if any, list products and manufacturing processes to be certified, information about product design process, outsourced processes etc.). The manufacturer can apply for a number of sites in the same application. |  |  |  |
| 4.1.6 | The applicant MD manufacturer shall declare whether it has been an applicant or certified under this Scheme with or by any other certification body, and if yes then shall provide the previous evaluation reports to the new certification body. The certification body may verify the information provided by contacting the earlier certification body. |  |  |  |
| 4.1.7 | The prospective applicant for MD manufacturer shall along with the application declare any judicial proceedings relating to its operations, any proceedings by any Regulatory body or suspension / cancellation / withdrawal of any certification/ approvals/licenses/permissions under any Regulations or otherwise. Such declaration from the manufacturer shall be a part of the undertaking. |  |  |  |
| 4.1.8 | Certification is granted only against the current relevant certification criteria. The certification body shall review all applications for the above and ensure the same. |  |  |  |
| 4.1.9 | Whether consultancy relating to the management system and/or product conformity to be certified has been provided and, if so, by whom. |  |  |  |
| 4.1.10 | The applicant shall clearly indicate the type of certification it is applying for. |  |  |  |
| 4.2 | Application Review |  |  |  |
| 4.2.1 | The procedure for conducting the application review, shall clearly describe the process for application review, responsibilities and the competence of personnel performing the application review. A competent person of the CB shall undertake a review of the application received from the Medical Device manufacturer, as per its documented procedure for ensuring the following: |  |  |  |
| 4.2.1.1 | The information about the Medical Device manufacturer, the facilities, and the product(s) to be certified is sufficient for the conduct of the application review and the subsequent facility and product certification process. |  |  |  |
| 4.2.1.2 | Any known difference in understanding between the certification body and the applicant is resolved, including agreement regarding certification criteria. |  |  |  |
| 4.2.1.3 | the scope of certification sought is very well stated/defined. |  |  |  |
| 4.2.1.4 | the means are available to perform all evaluation activities. |  |  |  |
| 4.2.1.5 | the certification body has the competence and capability to perform the certification activity. - Information to determine the time required for conduct of the initial evaluation and surveillance evaluations. This shall be done in accordance with the CB’s documented procedure for determination of audit and evaluation time, which shall be established based on the requirements described in this document (Refer Annexure A-1 and A-2). - To determine and nominate a competent team/evaluator (for evaluation of the Technical Documentation and onsite testing evaluation for ICMED 13485 Plus standard), for the certification scope applied for by the manufacturer. This shall be done in accordance with the requirements specified in the document– Requirements for Certification Bodies |  |  |  |
| 4.2.2 | Based on the review of application for certification, deficiencies observed, if any, these shall be informed to applicant within seven days of receipt of application. In case the information provided by the applicant is incomplete/insufficient for the purpose of conducting an application review, then the CB shall have procedure for obtaining additional information. The information thus received shall be recorded along with other information already received. Records of review shall be maintained. |  |  |  |
| 4.2.3 | Antecedents of the applicants shall be checked in relation to the Scheme. If the manufacturing license (or the registration) issued by Licensing authority has been suspended/cancelled for a product or the factory during the last one year, the application from such Medical Device manufacturer shall not be entertained. |  |  |  |
| 4.2.4 | Applications from Medical Device manufacturers who have earlier either misused the ICMED Plus Certification Mark, or have been implicated/convicted by the court, or whose earlier certificate was cancelled because of violation of terms & conditions/misuse of certification mark shall not be registered within three years of conviction/strictures by the court/cancellation of the certificate by any CB. |  |  |  |
| 4.2.5 | Applications from Medical Device manufacturers found to be misusing the ICMED Plus Certification Mark while their application is being processed for grant of certificate, shall not be processed any further, and rejected after a due notice of 15 days. Fresh applications from them shall be treated as per clause 4.2.4 above. |  |  |  |
| 4.2.6 | Requests for grant of certificates from ex-applicants shall be processed like a fresh applicant and the entire procedure for grant of certificate be adhered to subject to clauses 4.2.3, 4.2.4 and 4.2.5 above. |  |  |  |
| 4.2.7 | Certification Bodies shall reject or close all applications for certification under the following conditions; - if an evaluation is not carried out within 3 months of registration of application or the entire certification process is not completed within 6 months. - if the samples fail on testing during the evaluation and during the follow up evaluation carried out (after organization has confirmed necessary corrective actions). - if acceptance testing facilities are not functional within three months of evaluation, or else arrangements for testing for specified requirements in NABL accredited laboratories have not been made. - if during the evaluation it is observed that significant number of batches of the specific product have not conformed to the specifications and or have been subjected to corrections and rework. - Inadequate corrective actions on the non-conformities raised within three months of evaluation. - Lack of competent personnel for production and testing. - If organization shows no progress towards completion of corrective actions within three months of evaluation and six months of registration of application. - Evidence of malpractice. - Voluntary withdrawal of application. - Non clearance of dues. |  |  |  |
| 4.2.8 | Following the review of the application, the certification body shall either accept or decline an application for certification. When the certification body declines an application for certification as a result of the review of application, the reasons for declining an application shall be documented and made clear to the client. |  |  |  |
| 4.2.9 | Only complete applications supported with all documents sought shall be accepted and registered in order of receipt with a unique identification number, acknowledged and records maintained. Registration shall be done within 7 days of receipt of application or information in response to the deficiencies communicated in Section 4.2.2 above. In case the applicant discloses any proceedings, suspensions etc., the applicant shall not be entertained for a period of one year from the date of conviction, suspension, withdrawal, deregistration etc. |  |  |  |
| 4.2.10 | In the event of a closure/rejection of an application, the application fee submitted with the application may be refunded as decided by the certification body. |  |  |  |
| 4.3 | Determination of Evaluation Time |  |  |  |
| 4.3.1 | The total evaluation time for ICMED 13485 Plus shall be the time required for auditing QMS as per ICMED 13485 (if not certified previously) and time required for auditing product related requirements including testing as prescribed Annex A-1 and A-2. |  |  |  |
| 4.3.2 | For a complete audit and /evaluation for ICMED 13485 Plus, the QMS audit shall follow the process documented in ICMED 13485 Certification in such cases, the time for stage 2 audit shall have additional time for the product related requirements prescribed for ICMED13485 Plus certification. If the manufacturer is previously certified to ICMED 13485, determination of evaluation time for remaining ICMED 13485 Plus criteria (only) can be done as per Annexure A-2. |  |  |  |
| 4.3.3 | The CB shall have documented procedures for determining time required for Medical Device Conformity Assessment offsite and including those at site (Evaluation and Testing of products etc.) as per the Annexure A-2 of this ICMED 13485 Plus scheme. The evaluation time determined for each client by the certification body, and the justification for the determination, shall be recorded. In determining the offsite (Technical documentation) and onsite (Product testing/witnessing/verification) evaluation time, the certification body shall consider, among other things, the complexity of operations, complexity of device, and the class of product offered for certification. |  |  |  |
| 4.3.4 | The minimum evaluation time as above does not include the time spent either on preparation for the evaluation or for preparing the evaluation report. The minimum evaluation time for each on site audit shall be at least one man-day (8 hrs. per day). |  |  |  |
| 4.3.5 | The certification body shall not carry out any conformity assessment of duration lesser than as specified above (4.3.1 and 4.3.2). |  |  |  |
| 4.3.6 | The CB shall prepare an evaluation plan based on its procedure and get manufacturer’s agreement for the evaluation plan. |  |  |  |
| 4.3.7 | Document review, audit preparation and report preparation time shall be additional and shall be at least one man-day. |  |  |  |
| 4.4 | Preparation and Planning Audit/Evaluation |  |  |  |
| 4.4.1 | Prior to undertaking the site visit, the certification body, through the members of its nominated evaluation team, shall undertake certain offsite activities as part of preparation and planning stage. These are: |  |  |  |
| 4.4.1.1 | Study of all the information received and request for additional information, if required. |  |  |  |
| 4.4.1.2 | Examination of the information on the scope of certification, risk classification of device, certification criteria, and initially submitted documents, for preparation of evaluation plan. |  |  |  |
| 4.4.1.3 | The minimum evaluation time for each on site audit shall be at least one man-day (8 hrs. per day). |  |  |  |
| 4.4.1.4 | Preparation of a checklist for requirements to be verified and evaluated during the onsite evaluation. If required, make modifications in generic checklist developed by the certification body for facilitating the evaluation. |  |  |  |
| 4.4.2 | The certification shall be granted for each manufacturing facility/premises after due verification of compliance to the prescribed criteria. Sampling of sites is not permitted for ICMED 13485 PLUS certification. |  |  |  |
| 4.5 | Conformity Assessment Procedure |  |  |  |
| 4.5.1 | A brief ICMED 13485 Plus certification process is provided in Annexure A. Conformity assessment procedures (Annexure A, Section III.3 and III.5), as applicable, shall be used for the medical devices depending on the risk classification. Process of certification for a class D new medical device typically shall involve a combination of: |  |  |  |
| 4.5.1.1 | The ICMED 13485 certification process (if not certified previously) for the QMS. |  |  |  |
| 4.5.1.2 | Evaluation of the technical documentation along with the medical device evaluation (ICMED 13485 Plus, Annexure A). |  |  |  |
| 4.5.1.3 | Conformity assessment process, viz. Type examination, Product conformity verification (as applicable depending on risk classification) are subsets of complete certification covered in Section 4.5.1, I and II above. For class C, B or A medical devices conformity assessment procedures shall be used depending on the risk classification, clinical evidence, involvement of product design process, availability of predicate device etc. |  |  |  |
| 4.5.2 | Man-days required for these certification activities shall be as per Annexure A-1 & A-2. |  |  |  |
| 4.5.3 | The QMS audit shall be performed as per ICMED 13485 scheme. |  |  |  |
| 4.5.4 | The medical device evaluation activities (manufacturing processes for specified products and testing of products etc.) shall be performed during the stage 2 QMS audit as per this ICMED 13485 Plus standard by spending additional time. |  |  |  |
| 4.5.5 | For manufacturers already certified to ICMED 13485, onsite evaluation shall be performed (can be clubbed with surveillance or recertification audit for ICMED 13485) separately for devices under certification. |  |  |  |
| 4.5.6 | The evaluation activities for ICMED 13485 Plus for medical devices under application can also be planned through additional onsite visit if not clubbed with surveillance or recertification audits. |  |  |  |
| 4.6 | Assessment of The Technical Documentation |  |  |  |
| 4.6.1 | The CB shall have a documented procedure for allocation of appropriately qualified, and authorized personnel, employed by it, for examination of individual aspects of devices with proven knowledge and experience regarding the technology (IAF MD 9, Annex A, Technical areas, product categories; and ISO 17065). |  |  |  |
| 4.6.2 | The CB shall have documented procedures in place relating to the assessment of manufacturer's procedures and technical documentation relating to use of device, biocompatibility, clinical evaluation (if applicable as per conformity assessment procedure and classification of device) both for initial conformity assessment and on an ongoing basis. The CB shall examine, validate, and verify the manufacturer’s procedures and documentation (with respect to planning, conduct, evaluation, reporting and updating of the clinical evaluation, post-market surveillance and PMCF, the interface with the risk management process, the appraisal and analysis of the available data and its relevance with regard to demonstrating conformity with the relevant requirements). The technical documentation review/evaluation shall be carried out before the on-site audit or evaluation. |  |  |  |
| 4.6.3 | The CB may require the application to be completed by having further tests carried out or requesting further evidence to be provided to allow assessment of conformity with the ICMED 13485 Plus criteria. |  |  |  |
| 4.6.4 | The CB shall assess the clinical evidence (as per conformity assessment procedure applicable) presented by the manufacturer in the clinical evaluation report and the related clinical evaluation that was conducted. The CB shall employ device reviewers with sufficient clinical expertise and, if necessary, use external clinical experts with direct and current experience relating to the device in question or the clinical condition in which it is utilized, for the purposes of that review. |  |  |  |
| 4.6.5 | The CB shall, in circumstances in which the clinical evidence is based partly or totally on data from devices, which are claimed to be equivalent to the device under assessment, assess the suitability of using such data, taking into account factors such as new indications and novel features of the device. The CB shall clearly document its conclusions on the claimed equivalence, and on the relevance and adequacy of the data for demonstrating conformity. |  |  |  |
| 4.6.6 | For any characteristic of the device claimed as innovative by the manufacturer or for new indications, the CB shall assess to what extent specific claims are supported by specific pre-clinical and clinical investigations, data and risk management. |  |  |  |
| 4.6.7 | The CB shall verify that the clinical evidence and the clinical evaluation are adequate and shall verify the conclusions drawn by the manufacturer on the conformity with the relevant general safety and performance requirements, and also manufacturer's post-market surveillance plan, including a review of the need for, and the adequacy of, the PMCF plan proposed, where applicable. |  |  |  |
| 4.6.8 | The CB shall clearly document the outcome of its assessment in the technical documentation and clinical evaluation assessment report. |  |  |  |
| 4.7 | Onsite Evaluation |  |  |  |
| 4.7.1 | The evaluation plan covering the relevant evaluation objectives shall be prepared and communicated to the applicant well in advance. Objectives of the evaluation for ICMED 13485 Plus certification shall be: |  |  |  |
| 4.7.1.1 | The evaluation shall cover on-site testing and laboratory testing (additional testing if any) for each type of the medical device(s) applied for in the scope of application. Witnessing of testing shall be carried out as part of the evaluation (preferably performed during stage 2 audit). |  |  |  |
| 4.7.1.2 | Establish a test plan with relevant/critical parameters (with rationale and agreed by manufacturer) for witnessing of testing by CB. The test protocol should be as per recognized product standards or in-house validated test methods adopted by manufacturer where no such national and other recognized standards exist. |  |  |  |
| 4.7.1.3 | Examine and assess technical documentation (prior detailed review is done offsite) to verify that the medical device has been manufactured as per the process described by the manufacturer. |  |  |  |
| 4.7.1.4 | CB shall carry out or arrange (if required, in an NABL accredited laboratory) for the physical and laboratory tests necessary to verify whether the solutions adopted by the client meet the general safety and performance requirements. The requirements against which the products of the client are evaluated shall be those contained in specified standards (or manufacturers own validated test methods). |  |  |  |
| 4.7.1.5 | The evaluation shall be carried out by a competent QMS audit team (audit only for clients with no ICMED 13485 certification) and/or a competent evaluation team (Technical documentation and product evaluation). |  |  |  |
| 4.7.2 | CB’s cumulative competences shall be such as to enable it to assess the types of devices for which it is accredited. |  |  |  |
| 4.7.3 | Evaluation team to include qualified personnel for the assessment of the pre-clinical evaluation, clinical evaluation, tissues and cells of human and animal origin, functional safety, software, combination products depending on the type and complexity of the medical device. |  |  |  |
| 4.7.4 | The certification body shall communicate the composition of the evaluation team to the applicant Medical Device manufacturer for identification of conflict of interest, if any. If required sufficient background information in respect of the evaluation team members shall be provided to the applicant for this purpose. Any objections (conflict of interest) to the team by the applicant shall be examined on merit and decided on. |  |  |  |
| 4.7.5 | Timings and date of audit and/or evaluation shall be fixed in consultation with the manufacturer ensuring that production processes representative of normal operations will be open for witnessing during the planned evaluations, if so required. The duration and plan for evaluation shall be provided to the applicant in advance. |  |  |  |
| 4.7.6 | The evaluation of the device design, technical file (performed before the onsite audit/evaluation) and the processes at the site of the applicant shall be conducted within three months of registration of application and or satisfactory fulfilment of all application requirements. |  |  |  |
| 4.7.7 | For the evaluation of Medical Device, the certification body shall list the applicable domestic regulatory requirements, and shall: |  |  |  |
| 4.7.1.1 | Verify compliance to the registration and licensing requirements for the subject premises and medical devices. |  |  |  |
| 4.7.1.2 | Review the Technical File/Device master file as per requirements of the certification criteria. Technical documentation submitted shall be reviewed before the onsite QMS audit and onsite product evaluation activities. |  |  |  |
| 4.7.7.3 | Evaluate the status of the ICMED 13485 Plus certification scope for its appropriateness and adequacy. |  |  |  |
| 4.7.7.4 | Ascertain the availability of adequate equipment for production for the devices under certification. |  |  |  |
| 4.7.7.5 | Ascertain the availability of competent personnel for production and testing. |  |  |  |
| 4.7.7.6 | Verify adequacy of testing facilities in respect of the in-house tests carried out by the applicant, if any, and/or the arrangement with NABL accredited laboratories for the medical devices under certification. |  |  |  |
| 4.7.7.7 | Verify competence of testing personnel and testing facility by witnessing testing of representative number of sample(s) in the premises of the applicant Medical Device manufacturer. |  |  |  |
| 4.7.7.8 | The CB may in specific situations like absence of testing facility with the manufacturer or complaints or adverse incidents and especially where there may be any doubt about compliance of the medical device to the prescribed standards, decide to draw a sample for independent testing with justification to be provided to the manufacturer. |  |  |  |
| 4.7.7.9 | Software and firmware shall be evaluated for safety and security requirements in an NABL accredited laboratory by the manufacturer. To enable this, necessary information relating to architecture, design and source code and other information to enable their evaluation shall be required and collected from the applicant. On the basis of the satisfactory reporting, the evaluation team shall validate the same on-site at the applicant’s site for compliance. |  |  |  |
| 4.7.7.10 | When the NABL accredited labs located at a distant location are difficult to access, the testing being conducted by the applicant onsite shall be witnessed by the CB evaluation team. |  |  |  |
| 4.7.7.11 | When the testing being conducted by the applicant onsite is witnessed by the CB evaluation team this would be considered equivalent to independent testing of medical device. |  |  |  |
| 4.7.8 | Evaluation team shall prepare an audit report (if QMS is part of this certification) and/or an ICMED Plus evaluation report (if client already has ICMED 13485 certified). Any deficiencies observed with respect to the applicable certification criteria shall be informed in writing to the applicant. |  |  |  |
| 4.8 | Grading of Non-Conformities |  |  |  |
| 4.8.1 | The nonconformities observed during evaluations of Medical Device under the scheme shall be classified as Major or Minor depending on their severity. |  |  |  |
| 4.8.1.1 | A nonconformity is classified as Major when it relates directly or indirectly to the safety and performance of the product and the Medical Device manufacturer’s capability to produce a product that would conform to the certification criteria. It should also be raised as major in case it is observed that the information provided as part of technical documentation or the significant evidence supporting the same are observed to be not available or observed to be not analyzed appropriately. In respect of Quality Management system, nonconformity that affects the capability of the management system to achieve the intended results shall be categorized as major NC. A number of minor NCs on the same aspect shall be clubbed together and raised as single major NC. |  |  |  |
| 4.8.1.2 | A nonconformity is classified as Minor when it relates to the implementation issues which do not directly affect either the safety and performance of the product or the Medical Device manufacturer’s capability to produce a product conforming to the certification criteria and are isolated instances of lapses. In respect of Quality Management System, a nonconformity that does not affect the capability of the management system to achieve the intended results shall be categorized as minor NC. |  |  |  |
| 4.8.2 | In case of major and minor NCs, the Medical Device manufacturer shall carry out root cause analysis and inform the same along with correction and corrective actions, within a period of one month and 3 months respectively. |  |  |  |
| 4.8.3 | All non-conformities are required to be closed before initial certification through verification of adequacy of the correction and corrective actions. Non-conformity which raises any doubt as to the conformity of the product must be addressed and the correction/corrective actions verified by the certification body (by site visit or other appropriate forms of verification) before certification is granted. All major non-conformities shall invariably require a follow-up audit. |  |  |  |
| 4.9 | Evaluation Report |  |  |  |
| 4.9.1 | The ICMED 13485 Plus evaluation team shall prepare an audit and/or evaluation report and any deficiencies observed with respect to the applicable certification criteria during the evaluation shall be informed in writing to the applicant. A separate ICMED 13485 audit report, if applicable, shall be prepared for manufacturer not certified previously. |  |  |  |
| 4.9.2 | The evaluation reports for evaluation of medical device under the ICMED 13485 Plus scheme shall clearly provide evidence and conclusions about the fulfilment of the evaluation objectives as described above and shall contain sufficient detailed information regarding conformity with all the relevant certification requirements, including the Certification Criteria. The Certification Body shall develop appropriate report format(s) including checklist used for evaluating compliance to the certification criteria and Annexures A and B, and report writing guidance document to ensure that the report provides, adequate and complete details for ensuring appropriate, evaluation, review and decision in respect of grant of certification. A checklist, providing only conclusions “Yes” and “No” against each criteria element, without substantiating the reasons for reaching that conclusion and providing references to evidence examined shall not be accepted as adequate form of reporting. |  |  |  |
| 4.9.3 | The certification body shall send the evaluation report to the applicant manufacturer within 7 days from the date of completion of the evaluation. |  |  |  |
| 4.10 | Independent Testing of Samples |  |  |  |
| 4.10.1 | The Certification body may in specific situations like absence of testing facilities with the manufacturer or complaints or adverse incidents and especially where there may be any doubt about compliance of the medical device to the prescribed standards, decide to draw a sample for independent testing with justification to be provided to the manufacturer. |  |  |  |
| 4.10.2 | The samples shall be drawn in a manner so as not to contaminate the product while sampling and packing. |  |  |  |
| 4.10.3 | The samples(s) shall be packed and sealed such that the product integrity is maintained for its intended shelf life. |  |  |  |
| 4.10.4 | The samples shall be clearly identified with their name, batch identification and suitable identification to enable traceability to the applicant and the Evaluation. |  |  |  |
| 4.10.5 | As far as feasible, the identity of the sample with respect to its Brand name, and the name of manufacturer as depicted on the original packing, shall be masked. |  |  |  |
| 4.10.6 | The samples shall be drawn in quantities adequate to facilitate their testing for identified parameters specified in the standard/product Criteria. |  |  |  |
| 4.10.7 | If the product is affected by the conditions of temperature, handling, and storage, then care shall be taken to ensure that the sample is drawn and maintained under those conditions for testing its conformity to specified criteria. |  |  |  |
| 4.10.8 | The samples of Medical Device(s) drawn for independent testing shall be forwarded to an NABL accredited testing laboratory for ascertaining conformance to specified criteria. The specified criteria shall be clearly mentioned and communicated to the testing laboratory. The samples(s) shall be duly coded and as far as possible, the identity of the manufacturer shall be hidden (where possible). The sample(s) shall be so dispatched that they do not get damaged and or contaminated, undergo deterioration, and the product integrity is maintained. |  |  |  |
| 4.11 | Independent Review of Evaluation Report |  |  |  |
| 4.11.1 | An independent (personnel other than those involved in the audit/evaluation activities) review of evaluation report shall be carried out by person(s) or a committee having the relevant competence. The responsibility for review function, shall however be that of the certification body and it needs to confirm that all activities of the certification plan have been completed. |  |  |  |
| 4.11.2 | Any information on which opinion and decision is based and which comes from any source other than the evaluation process, for example complaints, information received from regulators etc. should be made known to the applicant and given an opportunity to comment on it. |  |  |  |
| 4.11.3 | The nonconformities and their resolution should be documented and made available for the purpose of review. |  |  |  |
| 4.11.4 | The records of review shall be retained and shall provide adequate confidence that all relevant aspects were examined prior to making recommendations. |  |  |  |
| 4.11.5 | The recommendation for certification decisions, whether positive or negative, shall be supported by a documented justification. |  |  |  |
| 4.12 | Certification Decision |  |  |  |
| 4.12.1 | Certification decision shall be the sole responsibility of the certification body and the decision shall be taken by competent personnel (individual or committee) nominated by the CB. |  |  |  |
| 4.12.2 | The person(s), who take(s) the decision on granting/withdrawing certification within the certification body (as per its documented procedure) shall have a level of knowledge and experience sufficient to evaluate the information obtained from the evaluation process and the review recommendations. Review and the certification decision may be completed concurrently by the same person(s). |  |  |  |
| 4.12.3 | Impartiality and absence of conflict of interest shall be ensured before entrusting the task of certification decision making. |  |  |  |
| 4.12.4 | Prior to making a certification decision the CB shall verify that the offsite technical documentation evaluation report (design review, clinical evaluation etc. as per criteria), on-site evaluation report(s) and supporting documentation needed for decision making, including concerning resolution of non-conformities noted during assessment, are complete and sufficient with respect to the scope of the application. All non-conformities shall have been resolved before grant of initial certification. |  |  |  |
| 4.12.5 | The certification body shall grant certification for product(s) after ensuring complete compliance to the Certification Criteria and Scheme requirements and all nonconformities have been addressed. There shall be no conditional grant of certification. |  |  |  |
| 4.12.6 | In case, based on the evaluation, the Certification Body decides, not to grant certification to the medical device(s) applied for, then it shall notify the applicant of the decision not to grant certification and shall identify the reasons for the decision. If the applicant expresses interest in continuing the certification process, the certification body can resume the process for evaluation from the process as described above. |  |  |  |
| 4.12.7 | The applicant may if he wishes appeal against the decision not to grant certification. |  |  |  |
| 4.13 | Certification Agreement |  |  |  |
| 4.13.1 | The certification agreements describe the terms and conditions which the medical device manufacturer is required to abide by after the grant of certification. Since the Scheme bestows self-marking rights to the certified medical device manufacturer, it is required to pledge its commitment for ensuring conformity of products and processes to the Certification Criteria and the Scheme requirements on a continuing basis. The details of the certification agreement have been covered in the document “Rules for use of certification Mark. The Certification Agreement shall also include requirements with respect to use of certificates and marks of conformity on the products by the certified Medical Device manufacturer. |  |  |  |
| 4.14 | Certification Documentation and Validity |  |  |  |
| 4.14.1 | On grant of certification, the certification body shall inform the manufacturer and issue a Certificate, uniquely identified, with the following information: |  |  |  |
| 4.14.1.1 | The name and address of the certification body, and certification mark of the certification body, other marks, and Scheme logo, |  |  |  |
| 4.14.1.2 | The name and address of the Medical Device manufacturer and the address of the site(s) certified. For a company with multiple sites, an annexure to certificate mentioning the sites and their addresses. |  |  |  |
| 4.14.1.3 | The effective date (the date on which certification is granted, which shall not precede the date on which the certification decision was completed) and the expiry date of certification. The date of granting, shall also include date of extending or renewing the certification, if applicable. |  |  |  |
| 4.14.1.4 | The expiry date or recertification due date consistent with the recertification cycle. |  |  |  |
| 4.14.1.5 | The certification criteria (certification scheme) against which the certification has been awarded, complete with issue number and/or revision. |  |  |  |
| 4.14.1.6 | The scope of certification with type of activities, and with name/identification of medical device as given on the manufacturing and product approval licenses. The conformity assessment procedure/type (full quality assurance, design, or type examination etc.). |  |  |  |
| 4.14.1.7 | Any other information required by the certification criteria used for certification. |  |  |  |
| 4.14.1.8 | In the event of issuing any revised certification documents, a means to distinguish the revised documents from any prior obsolete documents. |  |  |  |
| 4.14.1.9 | The formal certification documentation shall include the signature of the individual(s) of the certification body assigned such responsibility. |  |  |  |
| 4.14.2 | Formal certification documentation shall only be issued after, or concurrent with, the following: |  |  |  |
| 4.14.2.1 | the decision to grant or extend the scope of certification has been made. |  |  |  |
| 4.14.2.2 | certification requirements have been fulfilled. |  |  |  |
| 4.14.2.3 | the certification agreement has been completed/signed. The contents of the certification agreements have been detailed in the document “Rules for use of certification Mark”. |  |  |  |
| 4.14.3 | No Brand names of the Medical Device shall be mentioned on the Certificate document or any other document intimating grant of certification. |  |  |  |
| 4.14.4 | The certificate for product certification shall be valid for a maximum period of 3 years from the date of decision to grant the product certification subject to successful surveillance annual audit of conformity to the ICMED 13485 and ICMED Plus requirements. |  |  |  |
| 4.14.5 | The certification agreement with the manufacturer shall clearly convey the manufacturer that they have to seek approval from QCI for using the ICMED 13485 Plus Certification Mark. The CB shall get the QCI agreement signed by the manufacturer and send the agreement to QCI for its signatures. |  |  |  |
| 4.14.6 | The CB shall promptly add the name of the newly certified, manufacturer with all details in the directory of certified clients maintained by it. |  |  |  |
| 4.15 | Surveillance Evaluation |  |  |  |
| 4.15.1 | Onsite Surveillance evaluation of the certified clients shall be carried out at a frequency of at least once in calendar year as per ISO 17021-1:2015. The Certification Body may allow a grace period (as per ICMED 13485 scheme) based on valid grounds beyond which any delay shall lead to suspension of the certificate. |  |  |  |
| 4.15.2 | Surveillance for ICMED 13485 Plus shall include the audit time for ICMED 13485 (as per ICMED 13485) and product evaluation. The man-days for surveillance evaluation shall be determined depending upon the number of devices to be sampled and complexities. The evaluation of product related requirement shall be carried out at each site covered under certification in each surveillance. |  |  |  |
| 4.15.3 | The surveillance evaluation shall be carried out on site at the certified premises. The objectives for this evaluation shall generally be the same as evaluation objectives. |  |  |  |
| 4.15.4 | An evaluation plan shall be prepared in advance and forwarded to the certified unit along with names of the evaluation team members, their role in the evaluation, sites/products to be evaluated, duration of evaluation and evaluation dates. |  |  |  |
| 4.15.5 | The certification body shall ensure that critical steps in a production operation or a combination of production operations on given days are witnessed and their controls verified, and witness testing of products (sampled) in progress for assessing continued competence of testing personnel and testing capability. Planning for surveillance evaluations shall ensure this. |  |  |  |
| 4.15.6 | The certification body may in specific situations like absence of testing facilities with the manufacturer or complaints or adverse incidents and especially where there may be any doubt about compliance of the medical device to the prescribed standards, decide to draw a sample for independent testing with justification to be provided to the manufacturer. NOTE: Short notice or unannounced audits may be required if available post-market surveillance data known to the CB on the subject devices indicate a possible significant deficiency in the quality management system or a significant product safety related information becoming known to the CB. |  |  |  |
| 4.15.7 | During the surveillance evaluation, the evaluation team shall as a minimum verify and report on the following: |  |  |  |
| 4.15.7.1 | Compliance to the requirements of the certification criteria and other requirements of the certification process. |  |  |  |
| 4.15.7.2 | Status of manufacturing practices and technical file up-dations. |  |  |  |
| 4.15.7.3 | Records required to be maintained. |  |  |  |
| 4.15.7.4 | Continued compliance of the medical device, manufactured since the last assessment, for batches manufactured. Validation records for any changes in process, ongoing stability records for the products have also to be verified. |  |  |  |
| 4.15.7.5 | Compliance to the quality assurance procedures. |  |  |  |
| 4.15.7.6 | Handling and disposal of non-conforming products. |  |  |  |
| 4.15.7.7 | Actions taken on discrepancies observed during the previous evaluation, failure of samples if any reported and informed to the Medical Device manufacturer. |  |  |  |
| 4.15.7.8 | Samples drawn for factory testing. |  |  |  |
| 4.15.7.9 | The continued availability of the manufacturing machinery and test equipment and changes since the previous evaluation. In the event of changes the evaluator shall ascertain if they are adequate for control of processes and testing of the products. |  |  |  |
| 4.15.7.10 | A review of the processes of complaint handling, post-market vigilance reporting, actions on the non-conforming products detected after delivery, advisory notices as per regulatory requirements, field corrective actions, recalls and any subsequent corrective & preventive actions. |  |  |  |
| 4.15.8 | If any non-conformities are observed, the same shall be categorized as either a Major or a Minor as per description on non-conformity given in Clause 4.8.1. The non- conformity report shall be provided to the client in writing, for root cause analysis, correction and corrective action (timeline for closure as in 4.18.2). Details of the same shall be reported in the Surveillance evaluation report. |  |  |  |
| 4.15.9 | If the surveillance valuation results in an infructuous visit due to any reason, and neither the production, nor testing of products are witnessed, the CB shall conduct another surveillance evaluation. Such additional evaluations may be charged to the certified unit as decided by the certification body. |  |  |  |
| 4.16 | Market Samples |  |  |  |
| 4.16.1 | The certification body may in specific situations like complaints or adverse incidents and especially where there may be any doubt about compliance of the medical device to the prescribed standards, decide to draw a sample for independent testing from the market with justification to be provided to the manufacturer. |  |  |  |
| 4.16.2 | Market samples shall be drawn in the original packaging and product integrity shall be ensured by the certification body. |  |  |  |
| 4.17 | Dealing with Failure of Samples Reported in Independent Laboratory Reports |  |  |  |
| 4.17.1 | Failure of sample of certified product, drawn from the factory or the market, to comply with the criteria shall be communicated to the certified Medical Device manufacturer for investigation, root cause analysis and proposed corrective actions within 15 days of intimation. The CB shall respond to the proposed corrective actions within 5 days and the manufacturer shall implement the corrective actions within one month from acceptance of the corrective actions by the CB. |  |  |  |
| 4.17.2 | Depending on the nature of the failure reported, the CB shall decide on one or more of the following: |  |  |  |
| 4.17.2.1 | Draw additional samples of the product manufactured around the same time from the factory or market. |  |  |  |
| 4.17.2.2 | Organize for an additional surveillance evaluation immediately. |  |  |  |
| 4.17.2.3 | Increase the frequency of surveillance evaluation if require for future surveillance. |  |  |  |
| 4.17.2.4 | Increase the number of samples drawn for testing. The manufacturer shall be informed of the decision taken. |  |  |  |
| 4.17.3 | In case of failure of the product sample, for safety requirements, the CB shall advise the manufacturer to: |  |  |  |
| 4.17.3.1 | Stop dispatches of the failing batch if stocks are available either at the site or in their warehouses. |  |  |  |
| 4.17.3.2 | Recall the failing batch from the market. |  |  |  |
| 4.17.3.3 | Suspend the certification, till adequate and effective corrective actions are taken. |  |  |  |
| 4.17.4 | Based on the satisfactory demonstration of root cause analysis and correction/corrective actions to prevent such recurrences by the manufacturer, the decision to revert back to the normal operation of certification shall be taken by the CB. Testing of fresh samples of the device manufactured after implementation of corrections/corrective actions may be one of the mechanisms of satisfactory demonstration. Based on the specific situations the certification body shall decide the appropriate actions and record the justification for the same. |  |  |  |
| 4.18 | Renewal |  |  |  |
| 4.18.1 | The CB shall send the Renewal notice to the certified units at least four months prior to expiry of certificate validity period. |  |  |  |
| 4.18.2 | The Medical Device manufacturer shall apply for renewal in the prescribed format along with fee, if any prescribed by the CB at least 3 months before expiry of the certification. |  |  |  |
| 4.18.3 | The on-site recertification evaluation conducted towards the end of third year and before the expiration of the certificate shall be same as the initial evaluation during which the CB shall verify fulfilment of all the requirements of certification criteria including technical file changes, if any. |  |  |  |
| 4.18.4 | The CB shall review the performance of the certified unit who has sought renewal of the Certification, with respect to compliance to certification criteria during the certification cycle, prior to a decision on the renewal of the certificate. |  |  |  |
| 4.18.5 | The review shall be based on: |  |  |  |
| 4.18.5.1 | Surveillance and renewal evaluation reports carried out during the certification cycle. |  |  |  |
| 4.18.5.2 | The NCs raised since last surveillance and the satisfactory submission of corrective action (for minor NCs) and closure (of major NCs), and resolution of the any other issues raised and their effectiveness. |  |  |  |
| 4.18.5.3 | Handling and disposition of nonconforming products. |  |  |  |
| 4.18.5.4 | Test reports for samples drawn from the factory and the market. |  |  |  |
| 4.18.5.5 | Any suspension of certificate during the previous validity period. |  |  |  |
| 4.18.5.6 | Corrective actions taken. |  |  |  |
| 4.18.5.7 | Complaints if any received. |  |  |  |
| 4.18.5.8 | Adverse post market information, if any. |  |  |  |
| 4.18.6 | The review shall be conducted by competent person(s) designated for this activity. |  |  |  |
| 4.18.7 | The decision for renewal of certificate shall be taken by the competent personnel authorized for the same, based on the satisfactory performance of the certified Medical Device as revealed through the review process. |  |  |  |
| 4.18.8 | The certification body shall not renew certification with conditions for compliance to be verified subsequently. There shall be no conditional renewal of certification. |  |  |  |
| 4.18.9 | When performance of the certified units is not satisfactory, the certification body shall withhold the renewal of the certificate to the manufacturing organization clearly stating the reasons and give time for effecting corrective actions. The verification and decision on renewal should be taken within 3 months of the expiry date. |  |  |  |
| 4.18.10 | The renewal shall be effected from the date of the expiry of the previous certificate and the intervening period shall be treated as period of suspension and clearly stated on the Certificate. The Medical Device manufacturer shall not claim certification during this period. |  |  |  |
| 4.18.11 | In case the Medical Device manufacturer does not complete satisfactorily actions within three months, the certificate shall stand expired from the date of expiry of previous validity. |  |  |  |
| 4.19 | Suspension |  |  |  |
| 4.19.1 | When a nonconformity with certification requirements is substantiated, either as a result of surveillance or otherwise, the certification body shall consider and decide upon the appropriate action, such as those stated below: |  |  |  |
| 4.19.1.1 | continuation of certification under conditions specified by the certification body (for example increased surveillance). |  |  |  |
| 4.19.1.2 | reduction in the scope of certification to remove nonconforming product variants. |  |  |  |
| 4.19.1.3 | suspension of the certification pending remedial action by the client. |  |  |  |
| 4.19.1.4 | withdrawal of the certification. |  |  |  |
| 4.19.2 | The suspension action shall also be decided based on any of the situations as stated below: |  |  |  |
| 4.19.2.1 | The client’s certified quality management system has persistently or seriously failed to meet certification requirements, including requirements for the effectiveness of the management system. |  |  |  |
| 4.19.2.2 | Repeated failure to take actions in respect of Major NCs, within the time limit prescribed or Major NC raised on the same issue in two consecutive on-site evaluations. |  |  |  |
| 4.19.2.3 | Unsatisfactory performance during two consecutive Surveillance evaluations on account of any of these aspects is observed. - Important testing equipment not calibrated, and no action taken by the certified unit. - Testing equipment out of order and no alternate arrangements for testing. - Non availability of competent technical personnel and absence of alternate arrangements. - Failure of sample picked up from client/market and manufacturer fails to investigate and correct the reason for failure of the product. |  |  |  |
| 4.19.2.4 | Evidence of falsification of information provided in the Technical Documentation, if observed during surveillance. |  |  |  |
| 4.19.2.5 | Complaints of serious nature, regarding performance and/or safety of the medical device, if substantiated. |  |  |  |
| 4.19.2.6 | The certified client does not allow surveillance or recertification audits to be conducted at the required frequencies. |  |  |  |
| 4.19.2.7 | The certified client has voluntarily requested a suspension. |  |  |  |
| 4.19.3 | The certification body shall issue due notice of at least 15 days for suspension of certification to the Medical Device manufacturer. In case of very serious failures or issues, the notice may not be required, and the case may even be directly processed for withdrawal of certification. |  |  |  |
| 4.19.4 | On receipt of instructions for suspension of certification, the certified units shall suspend using ICMED Plus certification mark on Medical Device being manufactured by them with immediate effect. The Medical Device manufacturer shall be advised to undertake a root cause analysis and identify the necessary corrective actions for resolving the same. |  |  |  |
| 4.19.5 | While under suspension, the certification body shall ensure that dispatches of certified products to the market/customer are withheld until the product in stock has been reassessed for conformity to the criteria. The Medical Device manufacturer shall reassess the quality of the products in stock and the CB shall verify this reassessed stock for conformity to the certification criteria before allowing its dispatch. |  |  |  |
| 4.19.6 | When certification is suspended, the certification body shall require that, during the period of suspension, the certified unit makes no misleading claims and should advise relevant existing and potential purchasers regarding the status of certification and ceases to use the certification mark on the products manufactured since the date of notification of suspension. The certification body shall ensure that the Medical Device manufacturer has procedures in place to ensure that a nonconforming certified Medical Device that gave rise to suspension of certification is recalled. |  |  |  |
| 4.19.7 | The information about the suspension and withdrawal of certification shall be made publicly available by the certification body on its website. |  |  |  |
| 4.19.8 | The certification body shall revoke suspension only when: |  |  |  |
| 4.19.8.1 | Corrective actions have been taken and verified by the certification body. |  |  |  |
| 4.19.8.2 | Reports of Samples of Medical Device manufactured after corrective actions, both during factory and/or independent testing confirm compliance to Criteria requirements. |  |  |  |
| 4.19.9 | Suspension shall not exceed a period of six months. The Medical Device manufacturer’s inability to resolve issues relating to suspension within this period shall lead to withdrawal of certification. |  |  |  |
| 4.20 | Withdrawal of Certificate |  |  |  |
| 4.20.1 | Certification body shall withdraw the certificate when: |  |  |  |
| 4.20.1.1 | Certified unit contravenes the terms and conditions of certification and provisions of ICMED Plus certification scheme or any of the reasons as stated in section 5.19. |  |  |  |
| 4.20.1.2 | Medical Device and/or device manufacturer are failing and not conforming to the requirements of the Certification Criteria repeatedly and the corrective actions taken are not ensuring compliance, or the proposed plan for corrective actions will take a considerable time beyond 6 months for implementation. |  |  |  |
| 4.20.1.3 | In cases where the certification has been under suspension for any of the reasons specified in section 5.19 for more than 6 months. |  |  |  |
| 4.20.2 | Certification body shall terminate the certificate at the request of the certified unit, if the operation(s) in the certified unit premises can no longer be carried due to reasons of natural calamities such as flood, fire, earthquake etc., lockout declared by the management, or closure of business operations etc. |  |  |  |
| 4.21 | Changes Affecting Certification |  |  |  |
| 4.21.1 | When the certification scheme introduces new or revised requirements both in Certification criteria and Certification process requirements that affect the Medical Device manufacturer, the certification body shall ensure these changes are communicated to all applicants and the certified units. The certification body shall verify the implementation of the changes by its applicants and certified units and shall take actions required by the scheme. |  |  |  |
| 4.21.2 | The contractual agreement with the certified unit shall have clearly defined clause which shall make it mandatory for the certified unit to agree to implement the changes in his processes and product, necessitated by the changes in above requirements. |  |  |  |
| 4.21.3 | Following decision on, and publication of, the changed requirements, the certification body shall verify that each certified unit makes necessary adjustments within such time as, in the opinion of the certification body, is reasonable, unless the Certification Scheme owner itself has decided the timelines. The verification may involve steps like onsite re-evaluation, testing of samples in an independent laboratory, evaluation, review and decision and issuance of revised formal certification documentation to extend or reduce the scope of certification, etc. The records shall provide justification for choice of activities chosen for the purpose verification of changes. |  |  |  |
| 4.21.4 | The manufacturer shall also be bound by the certification agreement to inform the certification body about changes initiated by it, including changes in process and product design, changes in technology of manufacturing etc., which have the potential to affect the Medical Device compliance to the certification criteria. Based on the nature of changes informed, the certification body shall decide the verification activities and all other process steps, as relevant for certification process. |  |  |  |
| 4.22 | Change of Location/Ownership/Name |  |  |  |
| 4.22.1 | The certified Medical Device manufacturer shall inform the CB about any new location of manufacturing. The manufacturing unit shall be subject to an onsite audit at the new site like an Initial audit of an applicant. This audit shall confirm that the manufacturing processes for the subject products are same (no significant changes affecting the safety and performance of the products) and have been validated to meet the product requirements (specifications/standards). The certification body shall verify that each manufacturing unit complies with the requirements and if satisfied the CB shall endorse the Certificate for the new location. |  |  |  |
| 4.22.2 | In the event of change of Ownership, the Medical Device manufacturer shall provide necessary documentary evidence of having informed the change to the Licensing authority and its acceptance by the Licensing authority. The new management of the Medical Device manufacturer shall submit its acceptance to the agreement for Certification with the CB and required payment of fees. The same process shall be followed as and when an existing applicant undergoes a change in management. Such changes shall not call for a visit to the production site. |  |  |  |
| 4.22.3 | In case of change of Name, the manufacturer shall inform the change in the name to the CB supported with documentary evidence including a copy of the manufacturing license issued by the Licensing authority, and if satisfied the CB shall endorse the Certificate in the new name. |  |  |  |
| 4.23 | Extension of Scope |  |  |  |
| 4.23.1 | The certified unit shall be required to make a formal application for the purpose of inclusion of additional Medical Device(s) in the scope of certification, on an application form, prescribed if any, to the certification body. |  |  |  |
| 4.23.2 | The process steps of receipt of application, information, application review, planning for evaluation, determination of competence of evaluators and others like for evaluation, review and decision-making functions shall be the same as that for initial evaluation. The evaluation time shall be estimated as per details provided at Section 4.3 above. Such scope extension evaluation can also be clubbed with the surveillance/recertification audits. |  |  |  |
| 4.23.3 | Extension of scope of certificate for inclusion of additional Medical Device under the same certificate shall be done after: |  |  |  |
| 4.23.3.1 | ascertaining that the certified organization has requisite resources required e. g. raw materials, process controls, manufacturing machinery, test facilities and technical skills for Medical Device under extension of scope, through an evaluation. |  |  |  |
| 4.23.3.2 | Verification if the specific additional Medical Device under extension of scope have been manufactured in accordance with data supplied by the Medical Device manufacturer to the Licensing authority that formed the basis for their product approval, and |  |  |  |
| 4.23.3.3 | Conformity of samples of Medical Device, to requirements of the Certification Criteria when tested at manufacturing site and/or in an independent laboratory. |  |  |  |
| 4.23.4 | The extension of scope shall be clearly mentioned in the certificate document along with its date of inclusion for avoiding any misrepresentation or misinterpretation. Irrespective of the date of inclusion, the validity of the Certificate shall remain unchanged. |  |  |  |
| 4.24 | Fee |  |  |  |
| 4.24.1 | A fee to be charged to the organization for various activities (TD assessment/review, evaluation and testing activities for the products etc.) of the ICMED Plus product certification scheme, without any discrimination between units, geographical location, size of the unit. |  |  |  |
| 4.24.2 | The CBs fee structure shall be publicly accessible and also be provided on request. |  |  |  |
| 4.24.3 | CB shall notify and obtain consent to its fee structure from the Medical Device manufacturers prior to grant of certification. As and when the fee undergoes a change, the same shall be communicated to all including applicants and the Medical Device manufacturers certified under this scheme of certification for their acceptance. |  |  |  |
| 4.25 | Records |  |  |  |
| 4.25.1 | The certification body shall have a documented policy and documented procedure in respect of the retention of records to demonstrate that all certification process requirements have been effectively fulfilled (Requirements for the certification bodies. |  |  |  |
| 4.26 | Handling of Complaints Related to Certified Medical Device and/or Manufacturer |  |  |  |
| 4.26.1 | The certification body shall have a procedure to handle the complaints. If the complaint relates to a manufacturer and the certified Medical Device supplied by the manufacturer, depending on the device classification and seriousness of adverse event, the examination and evaluation of the complaints shall take into consideration the effectiveness and implementation of the manufacturer’s certification system. |  |  |  |
| 4.26.2 | The process of establishing validity of the certified Medical Device, should generally, involve processes like conduct of additional surveillance activities–visit to manufacturer’s premises for special evaluation, testing and evaluation of certified product, against which the complaint had been received, etc. The decisions on complaint shall then be based on the result of additional surveillance activities. Rest of the requirements shall be as per ICMED 13485 scheme. |  |  |  |
| 4.27 | Handling of Appeals |  |  |  |
| 4.27.1 | Appeal from the manufacturer with respect to certification of the medical devices shall be registered, and evaluated by CB as per its documented procedure. The process shall involve the receiving, validating, investigating, corrective actions and decision making of an appeal. |  |  |  |
| 4.27.2 | CB shall be responsible for all the investigations and decisions for all the appeals. |  |  |  |
| 4.27.3 | CB shall ensure that the personnel processing and investigating the appeals shall be independent and not be involved in the certification process of the manufacturer and their products. |  |  |  |
| 4.27.4 | The CB shall be responsible for the resolution (without any discriminatory action) of the appeal and provide the appellant the decision and a formal notice at the end of the process. |  |  |  |
| Annexure A | Conformity Assessment for ICMED Plus - Device Certification Note: CB to briefly describe how it intend to meet requirements of cl. A1 to A7) |  |  |  |
| Annexure A-1 | Determination of Man-Days for QMS Certification |  |  |  |
| Annexure A-2 | Determination of Man-Days for Evaluation of Technical Documentation |  |  |  |
| Annexure B | List of Documents to be submitted to Certification body Along with Application for ICMED 13485 Plus Certification (List is Indicative Only) Note: CB to briefly describe how it intend to meet this requirement.) |  |  |  |